## Change Log
Change Log from Original Modeling Framework Sent to EUC 7/9
Tab | Cell (Range) | Description | Date Added | Reason
Fuel Costs | k8:k15 | Added hydrogen fuel cost projections | 2024-07-10 | Not included in original Framework
AE Load (Peak) | c5:g45 | Webber Energy Group provided slightly updated data on home electrification projections | 2024-07-12 | Updated data from 3rd party study
AE Load (Energy) | c5:i45 | Webber Energy Group provided slightly updated data on home electrification projections | 2024-07-12 | Updated data from 3rd party study
Technology Costs | e17 | Updated projected cost for hydrogen fuel cell technology using Ascend Analytics data that is more reliable than previous source. | 2024-07-18 | Updated data from 3rd party
Technology Costs | e18 | Updated projected cost for advanced geothermal systems (AGS) technology using Ascend Analytics data that is more reliable than previous source. | 2024-07-18 | Updated data from 3rd party
Technology Costs | f7 | Added the AE Value of Solar cost for systems >1MW | 2024-07-18 | Recommendation from EUC
Asset-PPA Retirements | e5 | Added retirement date for Decker CTs | 2024-07-18 | Recommendation from EUC
Asset-PPA Retirements | e6 | Added retirement date for SHEC CTs and CC | 2024-07-18 | Recommendation from EUC
Asset-PPA Retirements | b10:e11 | Added Mueller and ABIA resources | 2024-07-18 | Recommendation from EUC
Output Metrics | b14:c15 | Added SOx and PM emissions to output metrics | 2024-07-18 | Recommendation from EUC

## AE Load (Peak)
Load Forecast - Austin Energy Load Zone (Peak Demand)
[MW]
Year | Population Peak Demand | Home Electrification (Heat + Cooking) Peak Demand | EV Peak Demand (10%) | Data Center Peak Demand | Total Peak Demand
2000 | 2383 | - | - | - | 2383
2001 | 2023 | - | - | - | 2023
2002 | 2037 | - | - | - | 2037
2003 | 2062 | - | - | - | 2062
2004 | 2103 | - | - | - | 2103
2005 | 2445 | - | - | - | 2445
2006 | 2430 | - | - | - | 2430
2007 | 2391 | - | - | - | 2391
2008 | 2514 | - | - | - | 2514
2009 | 2602 | - | - | - | 2602
2010 | 2628 | - | - | - | 2628
2011 | 2714 | - | - | - | 2714
2012 | 2702 | - | - | - | 2702
2013 | 2592 | - | - | - | 2592
2014 | 2578 | - | - | - | 2578
2015 | 2735 | - | - | - | 2735
2016 | 2755 | - | - | - | 2755
2017 | 2654 | - | - | - | 2654
2018 | 2878 | - | - | - | 2878
2019 | 2810 | - | - | - | 2810
2020 | 2810 | - | - | - | 2810
2021 | 2644 | - | - | - | 2644
2022 | 2953 | - | 10 | - | 2963
2023 | 3064 | - | 12 | - | 3076
2024 | 2959 | 27 | 24 | 124 | 3134
2025 | 2989 | 28 | 57 | 147 | 3221
2026 | 3019 | 29 | 74 | 171 | 3293
2027 | 3050 | 29 | 93 | 194 | 3366
2028 | 3081 | 29 | 111 | 218 | 3439
2029 | 3112 | 30 | 131 | 241 | 3514
2030 | 3143 | 30 | 150 | 265 | 3588
2031 | 3175 | 30 | 171 | 288 | 3664
2032 | 3208 | 30 | 192 | 312 | 3742
2033 | 3240 | 30 | 213 | 335 | 3818
2034 | 3273 | 31 | 235 | 359 | 3898
2035 | 3306 | 31 | 258 | 382 | 3977
2036 | 3340 | 31 | 281 | 406 | 4058
2037 | 3374 | 31 | 304 | 429 | 4138
2038 | 3408 | 31 | 328 | 453 | 4220
2039 | 3443 | 31 | 353 | 476 | 4303
2040 | 3478 | 31 | 377 | 500 | 4386
Source: Webber Energy Group study - 7/12/24
Note: AE will use its standard load forecast for base case modeling and will use these load growth forecasts to test performance of portfolios in high load futures through sensitivity analysis
Note on C4: AE: Contribution to peak electricity demand from population growth
Note on D4: AE: Contribution to peak electricity demand from electrification
Note on E4: AE: Contribution to peak electricity demand from EV charging
Note on F4: AE: Contribution to peak electricity demand from new data centers

## AE Load (Peak) (2)
Source: Webber Energy Group study - 7/12/24
Note: AE will use its standard load forecast for base case modeling and will use these load growth forecasts to test performance of portfolios in high load futures through sensitivity analysis

## AE Load (Energy)
Load Forecast - Austin Energy Load Zone (Total Energy)
[GWh]
Year | [Aggressive Growth] Population Electricity Consumption | [Medium Growth] Population Electricity Consumption | Electrification Electricity Consumption | Data Center Electricity Consumption | EV Charging Electricity Consumption | [Aggressive Growth] Total Consumption | [Medium Growth] Total Consumption
2000 | 8774 | 8774 |  |  |  | 8774 | 8774
2001 | 9072 | 9072 |  |  |  | 9072 | 9072
2002 | 9134 | 9134 |  |  |  | 9134 | 9134
2003 | 9248 | 9248 |  |  |  | 9248 | 9248
2004 | 9431 | 9431 |  |  |  | 9431 | 9431
2005 | 9679 | 9679 |  |  |  | 9679 | 9679
2006 | 10073 | 10073 |  |  |  | 10073 | 10073
2007 | 10429 | 10429 |  |  |  | 10429 | 10429
2008 | 10734 | 10734 |  |  |  | 10734 | 10734
2009 | 11043 | 11043 |  |  |  | 11043 | 11043
2010 | 11020 | 11020 |  |  |  | 11020 | 11020
2011 | 11354 | 11354 |  |  |  | 11354 | 11354
2012 | 11731 | 11731 |  |  |  | 11731 | 11731
2013 | 12003 | 12003 |  |  |  | 12003 | 12003
2014 | 12325 | 12325 |  |  |  | 12325 | 12325
2015 | 12620 | 12620 |  |  |  | 12620 | 12620
2016 | 12901 | 12901 |  |  |  | 12901 | 12901
2017 | 13127 | 13127 |  |  |  | 13127 | 13127
2018 | 13926 | 13926 |  |  |  | 13926 | 13926
2019 | 13974 | 13974 |  |  |  | 13974 | 13974
2020 | 13541 | 13541 |  |  |  | 13541 | 13541
2021 | 13603 | 13603 |  |  |  | 13603 | 13603
2022 | 14340 | 14780 |  |  | 70 | 14410 | 14850
2023 | 14264 | 14632 | 500 |  | 82 | 14845 | 15214
2024 | 15009 | 14611 | 566 | 1084 | 163 | 16823 | 16424
2025 | 15316 | 14807 | 585 | 1290 | 389 | 17580 | 17072
2026 | 15621 | 14998 | 605 | 1496 | 644 | 18366 | 17743
2027 | 15926 | 15184 | 624 | 1702 | 908 | 19160 | 18419
2028 | 16227 | 15363 | 644 | 1908 | 1182 | 19962 | 19097
2029 | 16525 | 15535 | 665 | 2114 | 1465 | 20769 | 19779
2030 | 16819 | 15701 | 685 | 2320 | 1779 | 21603 | 20485
2031 | 17109 | 15860 | 705 | 2526 | 1972 | 22313 | 21063
2032 | 17394 | 16012 | 726 | 2732 | 2170 | 23022 | 21640
2033 | 17674 | 16157 | 746 | 2938 | 2373 | 23731 | 22214
2034 | 17948 | 16297 | 767 | 3144 | 2580 | 24439 | 22788
2035 | 18216 | 16430 | 788 | 3350 | 2791 | 25145 | 23359
2036 | 18478 | 16557 | 809 | 3556 | 3007 | 25849 | 23929
2037 | 18733 | 16679 | 829 | 3762 | 3226 | 26550 | 24496
2038 | 18983 | 16796 | 850 | 3968 | 3449 | 27251 | 25063
2039 | 19229 | 16907 | 871 | 4174 | 3676 | 27950 | 25628
2040 | 19469 | 17014 | 892 | 4380 | 3907 | 28648 | 26193
Source: Webber Energy Group study - 7/12/24
Note: AE will use its standard load forecast for base case modeling and will use either the Aggressive Population Growth or Medium Population Growth load growth forecasts to test performance of portfolios in high load futures through sensitivity analysis

## AE Load (Energy) (2)
Source: Webber Energy Group study - 7/12/24
Note: AE will use its standard load forecast for base case modeling and will use either the Aggressive Population Growth or Medium Population Growth load growth forecasts to test performance of portfolios in high load futures through sensitivity analysis

## ERCOT-Load
ERCOT Load Forecast
| Base |  | High Load
Year | Peak (MW) | Energy (GWh) | Peak (MW) | Energy (GWh)
2025 | 83291 | 488883628 | 85789.73 | 503550136.84
2026 | 84172 | 505479944 | 86697.16 | 520644342.32
2027 | 84962 | 521838946 | 87510.86 | 537494114.38
2028 | 86623 | 537265478 | 89221.69 | 553383442.34
2029 | 88141 | 549441467 | 90785.23 | 565924711.01
2030 | 90308 | 562065205 | 93017.24 | 578927161.15
2031 | 92087 | 573777564 | 94849.61 | 590990890.92
2032 | 93836 | 586500785 | 96651.08 | 604095808.55
2033 | 95555 | 595829669 | 98421.65 | 613704559.07
2034 | 97305.4907 | 605306938.2689 | 100224.6554 | 623466146.417
2035 | 99088.049 | 614934953.0234 | 102060.6904 | 633383001.6141
Source: ERCOT 2024 Long-Term Demand and Energy Forecast; Data extended beyond 2033 using the previous year's load growth rate
Note: High load forecast used in sensitivity analysis (assumes 3% annual increase in peak and energy)

## Demand Response
AE Demand Response Projections
Year | Operational Demand Response (MW)
2025 | 46.65
2026 | 55.13
2027 | 61.39
2028 | 68.19
2029 | 75.63
2030 | 84.23
2031 | 91.47
2032 | 98.71
2033 | 105.95
2034 | 113.19
2035 | 120.43
Source: Austin Energy Internal Data

## Energy Efficiency
AE Energy Efficiency Projections
Year | Energy Efficiency (MW)
2025 | 858.7
2026 | 896.1
2027 | 931.4
2028 | 966.3
2029 | 1000.6
2030 | 1032.7
2031 | 1063.7
2032 | 1094.7
2033 | 1125.7
2034 | 1156.7
2035 | 1187.7
Note: EE figures are cumulative additions since start of the programs
Note: End of year 2024 = 828 MW
Source: Statistically Adjusted End-use (SAE) forecast model from AE Finance

## Local Solar
AE Local Solar Projections
Local Solar
Year | Customer Sited Solar (MWac) | Other Local Solar (MWac) | Total Local Solar (MWac)
2025 | 134 | 34 | 168
2026 | 152 | 42 | 194
2027 | 170 | 42 | 212
2028 | 188 | 42 | 230
2029 | 206 | 42 | 248
2030 | 220 | 42 | 262
2031 | 234 | 42 | 276
2032 | 248 | 42 | 290
2033 | 262 | 42 | 304
2034 | 276 | 42 | 318
2035 | 290 | 42 | 332
Source: Austin Energy Internal Data
Note on C4: AE: "Local Solar" = inside AE Load Zone only
Note on C5: AE: 4 MW per year for "Solar 4 All" Program 2026-2029 MWac total = installed
Note on D5: AE: Webberville - 30MW La Loma - 2.5 Bergstrom - 1.8 Palmer - 0.15 FM812 Landfill - 8 (2026)

## Fuel Costs
Fuel Costs
Base Fuel Price Projections ($/MMBTU)
Year | Nuclear | Coal (Powder River Basin) | Coal (non-PRB) | Natural Gas - AE | NG - Houston | NG - North | NG - South | NG - West | Hydrogen
2025 | 0.8 | 2.68 | 1.2 | 3.1 | 3.1 | 2.8 | 3.1 | 2.6
2026 | 0.816 | 2.5 | 1.2 | 3.6 | 3.6 | 3.2 | 3.6 | 2.9
2027 | 0.83232 | 2.5 | 1.2 | 3.7 | 3.7 | 3.3 | 3.7 | 3
2028 | 0.84897 | 2.5 | 1.2 | 3.9 | 3.9 | 3.5 | 3.9 | 3.2 | 7.5
2029 | 0.86595 | 2.5 | 1.2 | 4.1 | 4.1 | 3.7 | 4.1 | 3.3 | 7.5
2030 | 0.88326 | 2.5 | 1.2 | 4.2 | 4.2 | 3.8 | 4.2 | 3.4 | 7.5
2031 | 0.90093 | 2.5 | 1.2 | 4.6 | 4.6 | 4.1 | 4.6 | 3.7 | 7.5
2032 | 0.91895 | 2.5 | 1.2 | 4.6 | 4.6 | 4.2 | 4.6 | 3.8 | 7.5
2033 | 0.93733 | 2.5 | 1.2 | 4.8 | 4.8 | 4.3 | 4.8 | 3.9 | 7.5
2034 | 0.95607 | 2.5 | 1.2 | 4.9 | 4.9 | 4.5 | 4.9 | 4 | 7.5
2035 | 0.9752 | 2.5 | 1.2 | 5.1 | 5.1 | 4.6 | 5.1 | 4.2 | 7.5
Note: NG prices based on Henry Hub data adjusted with delivery costs for each zone
Source: Austin Energy Internal Data
High Natural Gas Price Projections for Sensitivity Analysis ($/MMBTU)
Year | Natural Gas - AE | NG - Houston | NG - North | NG - South | NG - West
2025 | 4.16 | 4.16 | 3.87 | 4.16 | 3.63
2026 | 4.64 | 4.64 | 4.25 | 4.64 | 3.91
2027 | 4.82 | 4.82 | 4.41 | 4.82 | 4.05
2028 | 5 | 5 | 4.6 | 5 | 4.25
2029 | 5.18 | 5.18 | 4.78 | 5.18 | 4.42
2030 | 5.36 | 5.36 | 4.94 | 5.36 | 4.57
2031 | 5.71 | 5.71 | 5.27 | 5.71 | 4.88
2032 | 5.83 | 5.83 | 5.38 | 5.83 | 4.98
2033 | 6.01 | 6.01 | 5.54 | 6.01 | 5.13
2034 | 6.17 | 6.17 | 5.7 | 6.17 | 5.27
2035 | 6.37 | 6.37 | 5.89 | 6.37 | 5.46
Source: Austin Energy Internal Data
Note on C4: AE: Source for nuclear fuel cost is Lazard LCOE 2024 Report, 2024.

## Technology Costs
Technology Costs
Technology | Size (MW) | Heat Rate (MMBTU/MWh) | Capital Cost ($/kW) | Variable O&M ($/MWh) | Fixed O&M ($/kW-yr) | First Year Available | Operation Constraint | Data Source
Remote Utility Scale Solar | 100 |  |  | $48 - $58 |  | 2025 |  | Recent RFP, Wood Mackenzie
Remote Utility Scale Wind | 100 |  |  | $39 - $52 |  | 2025 |  | Recent RFP, Wood Mackenzie
Local Solar – Customer-Sited (< 1 MW) | 50 |  |  | 99 |  | 2025 |  | AE Value of Solar
Local Solar – Customer-Sited (1-10 MW) | 50 |  |  | 72.4 |  | 2025 |  | AE Value of Solar
Local Solar - Community | 50 |  | $2300 - $2400 |  | $11 | 2025 |  | Data from a recent RFP but adjusted to account for local cost differences such as real estate and labor.
Combined Cycle + SCR | 200 | 6.1 | $1,000 - $1,100 | $4.5 | $11 | 2027 |  | Manufacturer
Combustion Turbine + SCR | 13 - 62 | 8.28-9.75 | $550 - $750 | $4.5 | $11 | 2027 |  | Manufacturer
Remote Battery Storage (2-hour duration) | 100 |  |  |  | 108 | 2025 |  | Recent RFP
Remote Battery Storage (4-hour duration) | 100 |  |  |  | 156 | 2025 |  | Recent RFP
Local Battery Storage (2-hour duration) | 50 |  |  |  | 120 | 2026 |  | Recent RFP
Local Battery Storage (4-hour duration) | 50 |  |  |  | 195 | 2026 |  | Recent RFP
Local Battery Storage (12-hour duration) | 10 |  |  |  | 480 | 2026 |  | Recent RFP
Local Battery Storage (100-hour duration) | 25 |  |  | $160 - $240 |  | 2028 | Limited to 13 Cycles per year | Recent RFP
Hydrogen Fuel Cell | 5 |  | $4,000-$7,000 |  |  | 2030 |  | Ascend Analytics
Remote Geothermal | 20 - 200 |  | $5,123-$6,078 | $9 - $24 | $14 - $15 | 2027 |  | Ascend Analytics/NREL Annual Technology Baseline (ATB)
Demand Response | TBD |  | TBD |  |  | 2025 |  | DNV Study will provide more data to be evaluated as part of modeling
Energy Efficiency | TBD |  | TBD |  |  | 2025 |  | DNV Study will provide more data to be evaluated as part of modeling
Note on C3: AE: Sizes provided are for general pricing reference only - specific capacities to be modeled for different technologies will be determined as part of portfolio design process.
Note on F3: AE: Includes PPA costs or other non-fuel operational costs ($/MWh)
Note on G3: AE: For batteries = capacity payment For other sources = Fixed O&M costs are the costs of power plant operations and maintenance that are incurred whether or not the power plant is generating electricity (system maintenance, component replacement, labor, etc.)
Note on B9: AE: SCR = Selective Catalytic Reduction for NOx control

## Economic
Economic Parameters
Capital
30-year 65% debt financing (life of the asset must be at least as long as the term of the debt)
3.2% interest rate (near term: 5 years)
3.6% interest rate (beyond year 6)
Applies to CIP for current plants
Economic parameters
General inflation @ 2%
Discount Rate @ 7.8% (i.e. AE Weighted Average Cost of Capital (WACC))

## Asset-PPA Retirements
AE Asset-PPA Retirements
Asset Name | Type | Installed Capacity (MW) | Base Model Retirement Date
Decker Creek Power Station | Natural Gas | 200 | 2035-01-01
Sand Hill Energy Center | Natural Gas | 595 | 2035-01-01
Fayette Power Project | Coal | 600 | various
South Texas | Nuclear | 430
Nacogdoches | Biomass | 105
Mueller | Natural Gas | 4.6
Power Purchase Agreement (PPA) Name | Type | Installed Capacity (MW) | Contract End Date
Whirlwind Energy Center | Wind | 59.8 | 2027
East Pecos | Solar | 118.5 | 2031
Hackberry Wind Project | Wind | 165.6 | 2032
Raymond | Wind | 200 | 2032
Jumbo Road | Wind | 299.7 | 2033
Karankawa | Wind | 206.6 | 2034
East Blackland | Solar | 144 | 2035
Aragorn | Solar | 188.2 | 2036
Roserock | Solar | 157.5 | 2036
Webberville Solar Project | Solar | 30 | 2036
Whitetail | Wind | 92.3 | 2037
Los Vientos 2 | Wind | 201.6 | 2037
Gulf Wind | Wind | 170 | 2040
Los Vientos 3 | Wind | 200 | 2040
Los Vientos 4 | Wind | 200 | 2041
Upton (SPTX12B1) | Solar | 157.5 | 2042
Waymark | Solar | 178.5 | 2043
La Loma Community Solar | Solar | 2.6 | 2043
ABIA Solar | Solar | 1.8 | 2046

## Emission Factors
Emission Factors
Existing AE Assets
Unit Name | Unit Size (MW) | Zone | Fuel Type | Company | CO2 (lbs/MMBTU) | NOx (lbs/MMBTU) | SOx (lbs/MMBTU) | PM (lbs/MMBTU)
Sand Hill Combustion Turbine (Peaker) - Unit 1 | 47 | LZ_AEN | NG | Austin Energy | 118.8571 | 0.015149 | 0.0006 | 0.004
Sand Hill Combustion Turbine (Peaker) - Unit 2 | 47 | LZ_AEN | NG | Austin Energy | 118.8571 | 0.015361 | 0.0006 | 0.004
Sand Hill Combustion Turbine (Peaker) - Unit 3 | 47 | LZ_AEN | NG | Austin Energy | 118.8571 | 0.016291 | 0.0006 | 0.004
Sand Hill Combustion Turbine (Peaker) - Unit 4 | 47 | LZ_AEN | NG | Austin Energy | 118.8571 | 0.013892 | 0.0006 | 0.004
Sand Hill Combustion Turbine (Peaker) - Unit 6 | 47 | LZ_AEN | NG | Austin Energy | 118.8571 | 0.016166 | 0.0006 | 0.004
Sand Hill Combustion Turbine (Peaker) - Unit 7 | 47 | LZ_AEN | NG | Austin Energy | 118.8571 | 0.01604 | 0.0006 | 0.004
Sand Hill Combined Cycle - Unit 5 | 314 | LZ_AEN | NG | Austin Energy | 118.8571 | 0.012 | 0.0006 | 0.0029
Decker Combustion Turbine (Peaker) - Unit 1 | 48 | LZ_AEN | NG | Austin Energy | 116.9761 | 0.1149 | 0.0002 | 0.017
Decker Combustion Turbine (Peaker) - Unit 2 | 48 | LZ_AEN | NG | Austin Energy | 116.9761 | 0.137 | 0.0002 | 0.005
Decker Combustion Turbine (Peaker) - Unit 3 | 48 | LZ_AEN | NG | Austin Energy | 116.9761 | 0.167 | 0.0002 | 0.0065
Decker Combustion Turbine (Peaker) - Unit 4 | 48 | LZ_AEN | NG | Austin Energy | 116.9761 | 0.151 | 0.0002 | 0.0058
Fayette Power Plant - Unit 1 (AE Share 50%) | 300 | LZ_LCRA | COAL | Austin Energy | 205.7598 | 0.12 | 0.0216 | 0.0139
Fayette Power Plant - Unit 2 (AE Share 50%) | 300 | LZ_LCRA | COAL | Austin Energy | 205.7598 | 0.1132 | 0.0171 | 0.0129
Note: Emission Factors for existing AE assets based on measured emissions data for each unit as reported to EPA - all values are post-emission controls
Source: Austin Energy Internal Data
New Assets
Technology | CO2 (lbs/MMBTU) | NOx (lbs/MMBTU) | SOx (lbs/MMBTU) | PM (lbs/MMBTU)
Combustion Turbine (Peaker) w/100% Natural Gas | 118.8571 | 0.015149 | 0.0006 | 0.004
Combustion Turbine (Peaker) w/40% Hydrogen 60% Natural Gas Co-Fire | 98.8 | 0.0171 | 0.0005 | 0.0033
Combustion Turbine (Peaker) w/60% Hydrogen 40% Natural Gas Co-Fire | 81.6 | 0.0176 | 0.0004 | 0.0027
Combustion Turbine (Peaker) w/80% Hydrogen 20% Natural Gas Co-Fire | 53.6 | 0.0192 | 0.0003 | 0.0018
Combustion Turbine (Peaker) w/100% Hydrogen | 0 | 0.0223 | 0 | 0
Combined Cycle w/100% Natural Gas | 118.8571 | 0.012 | 0.0006 | 0.0029
Combined Cycle w/40% Hydrogen 60% Natural Gas Co-Fire | 98.8 | 0.0126 | 0.0005 | 0.0024
Combined Cycle w/60% Hydrogen 40% Natural Gas Co-Fire | 81.6 | 0.013 | 0.0004 | 0.002
Combined Cycle w/80% Hydrogen 20% Natural Gas Co-Fire | 53.6 | 0.0142 | 0.0003 | 0.0013
Combined Cycle w/100% Hydrogen | 0 | 0.0164 | 0 | 0
Note on C24: AE: The calculations are based on calorific value (Btu/scf) of natural gas and hydrogen and the % composition of the H2 in the fuel mix. The calorific value of H2 is approximately 1/3 the calorific value of natural gas
Note on D24: AE: Based on % emission increase relative to natural gas (Re: Proposed NOx Emissions Reporting for Hydrogen Containing Fuels. ETN Position Paper. March 2023). Uncertainty in emission factors may be large due to lack of data. EFs are post-SCR NOx controls.
Note on E24: AE: Assumed same reduction % as for CO2.
Note on F24: AE: Assumed Same reduction % as for CO2. PM emissions at 100% H2 may not be zero, since some PM comes in with combustion air

## Output Metrics
Output Metrics
Metric | Description
Levelized cost​ | The levelized cost of electricity (LCOE) is a measure of the average net present cost to serve load from a portfolio over its lifetime
Rate/bill impact​ | Impact of total cost of electricity generation from a portfolio on average customer bill
Energy burden​ | Impact of total cost of electricity generation from a portfolio on customer bills at different income levels
Total # of Local Load Shed Events | Total number of load shed events in Austin Energy Load Zone resulting from transmission import constraint
Total Hours Local Load Shed Events | Total duration in hours of load shed events in Austin Energy Load Zone
Total Liquidity Need | During extreme event, Total Liquidity Need = (Total cost to purchase electricity to serve AE load) - (Revenue generated from AE assets) + (Additional credit payment due to ERCOT) Reflects financial risk from extreme events if costs to AE to provide electricity to load zone far exceed revenues generated by AE during event
Total CO2 Emissions (AE)​ | Total carbon dioxide (CO2) emissions from fossil fuel-based electricity generation owned by AE over a specified period of time
Total CO2 Emissions (ERCOT-wide)​ | Total carbon dioxide (CO2) emissions from fossil fuel-based electricity generation across all assets in ERCOT over a specified period of time
NOx Emissions​ | Total nitrogen oxides (NOx) emissions from fossil fuel-based electricity generation in Austin Energy Load Zone over a specified period of time
SOx Emissions​ | Total sulfur oxides (SOx) emissions from fossil fuel-based electricity generation in Austin Energy Load Zone over a specified period of time
PM Emissions​ | Total particulate matter (PM) emissions from fossil fuel-based electricity generation in Austin Energy Load Zone over a specified period of time