## Values by Metric
Model Results for Each Portfolio by Output Metric
| 20-yr NPV ($B) | 2035 Bill Impact ($/Month) | 2035 Energy Burden (%) | Total Liquidity Need - Winter Event ($MM) | Total Liquidity Need - Summer Event ($MM) | Total Reliability Risk Hours (Hours) | Total 3+ Hour Reliability Risk Events (Count) | Total CO2 Emissions (Million Metric Tons) | Total NOx Emissions (Metric Tons) | Total SOx Emissions (Metric Tons) | Total PM Emissions (Metric Tons) | Total CO2 Emissions (ERCOT) | TOTAL SCORE
1 | 7.9341 | 38.3543 | 3.656% | 1093.334 | 523.108 | 890 | 178 | 14.3 | 1596 | 49.4 | 389 | 12 | #REF!
2 | 10.5095 | 67.0931 | 4.468% | 1278.1305 | 531.1731 | 2940 | 188 | 5.8 | 589 | 8.2 | 152 | 6 | #REF!
3 | 7.6285 | 32.6365 | 3.495% | 553.5445 | 292.8217 | 72 | 15 | 26.6 | 3016 | 88 | 761 | 11 | #REF!
4 | 6.696 | 20.611 | 3.155% | 522.933 | 298.9893 | 76 | 15 | 40.4 | 8978 | 1036 | 869 | 13 | #REF!
5 | 10.4801 | 68.3022 | 4.502% | 1261.6197 | 514.2291 | 4452 | 622 | 5.8 | 599 | 6.8 | 153 | 7 | #REF!
6 | 10.3547 | 68.117 | 4.497% | 1232.5592 | 557.2464 | 2495 | 260 | 5.7 | 584 | 3.6 | 150 | 10 | #REF!
7 | 10.5517 | 69.3393 | 4.531% | 1119.1674 | 465.6385 | 2497 | 258 | 5.6 | 573 | 3.6 | 148 | 8 | #REF!
8 | 8.8745 | 43.1278 | 3.791% | 516.9667 | 186.5189 | 243 | 44 | 9 | 1730 | 20.4 | 259 | 4 | #REF!
9 | 9.5947 | 54.574 | 4.114% | 757.1063 | 305.7521 | 628 | 97 | 8.2 | 1355 | 17.2 | 235 | 5 | #REF!
10 | 9.8233 | 55.5118 | 4.141% | 610.2408 | 329.1714 | 416 | 79 | 6.3 | 650 | 3.6 | 554 | 9 | #REF!
11 | 8.0328 | 34.7216 | 3.554% | 463.4536 | 238.8407 | 74 | 15 | 24.5 | 5267 | 561.6 | 167 | 1 | #REF!
12 | 10.8576 | 74.863 | 4.687% | 921.5936 | 280.9554 | 1482 | 182 | 4.3 | 440 | 0 | 114 | 2 | #REF!
13 | 11.6473 | 80.7344 | 4.853% | 1053.0606 | 325.8087 | 2785 | 296 | 4.4 | 457 | 0.9 | 118 | 3 | #REF!
14 | 9.1482 | 48.69 | 3.948% | 443.7911 | 274.3086 | 117 | 20 | 6.7861 | 710.7865 | 2.268 | 183.8827
15 | 10.9257 | 75.1767 | 4.696% | 879.1218 | 228.097 | 371 | 56 | 4.2 | 437.2675 | 0 | 113
16 | 10.8464 | 69.5515 | 4.537% | 290.1101 | 64.7228 | 104 | 19 | 4.8 | 502.5855 | 0 | 130
17 | 10.6044 | 66.9685 | 4.464% | 311.5966 | 117.6623 | 115 | 20 | 4.9 | 510.7502 | 0 | 132
Scenarios Included | Normal Conditions | Avg All Scenarios | Avg All Scenarios | 5k HCAP + EPP | Event | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions
Years | 2025-2045 | 2035 | 2035 | Based on 2035 Portfolio Mix | Based on 2035 Portfolio Mix | 2025-2035 | 2025-2035 | 2025-2035 | 2025-2035 | 2025-2035 | 2025-2035
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | 0 | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!
[12 empty] | #REF! | #REF!

## Net Cost
20-Year NPV of Net Costs
[Delta above Normal]
| ($B) | [5 empty] | ($B)
| UPLAN - Normal Conditions | Extreme Weather Scenario | High Congestion Scenario | High Load Growth Scenario | High Fuel Cost Growth Scenario | Average Cost | Extreme Weather Scenario | High Congestion Scenario | High Load Growth Scenario | High Fuel Cost Growth Scenario
1 | 7.9341 | 11.6302 | 9.7136 |  |  |  | 3.6961 | 1.7795
2 | 10.5095 | 14.5096 | 14.4651 |  |  |  | 4.0001 | 3.9556
3 | 7.6285 | 9.8787 | 8.1306 |  |  |  | 2.2502 | 0.50218
4 | 6.696 | 7.904 | 7.08 |  |  |  | 1.208 | 0.384
5 | 10.4801 | 14.6649 | 14.3553 |  |  |  | 4.1848 | 3.8752
6 | 10.3547 | 14.3324 | 14.6565 |  |  |  | 3.9778 | 4.3018
7 | 10.5517 | 14.4078 | 14.7491 |  |  |  | 3.8561 | 4.1974
8 | 8.8745 | 11.9324 | 11.2481 |  |  |  | 3.0579 | 2.3736
9 | 9.5947 | 13.2175 | 12.5458 |  |  |  | 3.6228 | 2.9512
10 | 9.8233 | 13.2796 | 13.9505 |  |  |  | 3.4563 | 4.1272
11 | 8.0328 | 10.1681 | 9.6106 |  |  |  | 2.1353 | 1.5777
12 | 10.8576 | 14.9813 | 14.4595 |  |  |  | 4.1237 | 3.6019
13 | 11.6473 | 15.9402 | 16.1437 |  |  |  | 4.2929 | 4.4964 |  |  |  | Ascend - P5 | Ascend - Mean | Ascend - P95
14 | 9.1482 | 12.4624 | 12.5543 | 12.2578 | 9.8687 | 11.2583 | 3.3141 | 3.4061 | 3.1095 | 0.72045 | 14 | 5.8293 | 6.7307 | 7.99
15 | 10.9257 | 15.0463 | 13.4683 | 14.2362 | 11.4555 | 13.0264 | 4.12 | 2.5427 | 3.3106 | 0.5299 | 15 | 7.7247 | 8.5235 | 9.5129
16 | 10.8464 | 14.044 | 13.2057 | 13.6444 | 11.4852 | 12.6452 | 3.2 | 2.3593 | 2.798 | 0.63881 | 16 | 7.5206 | 8.325 | 9.3148
17 | 10.6044 | 14.0813 | 13.7036 | 13.6335 | 11.2015 | 12.6448 | 3.48 | 3.0992 | 3.0291 | 0.59718 | 17 | 7.2203 | 8.0275 | 8.999
Note on B5: AE: PSA + % of Fixed Cost
Ascend P5-P95 Spread

## Bill Impact
Summary of Estimated Bill Impact to AE Customers Based on Net Cost
Average Monthly Bill Impact by Year - (Average of All Scenarios)
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
1 | -2.1161 | 2.0756 | 9.0476 | 7.2058 | 17.2738 | 20.6408 | 23.5293 | 26.4379 | 31.7737 | 33.4105 | 38.3543
2 (Reference - BAU) | 3.3667 | 10.7377 | 19.2952 | 16.4996 | 27.6307 | 30.94 | 35.3919 | 37.1622 | 42.6471 | 47.6788 | 67.0931
3 | -2.2126 | 2.8425 | 6.9019 | 3.7113 | 8.5317 | 11.429 | 15.1574 | 17.7303 | 24.155 | 27.5111 | 32.6365
4 | -2.633 | 1.141 | 3.189 | 1.946 | 6.191 | 7.441 | 8.893 | 11.258 | 14.243 | 16.889 | 20.611
5 | 3.4381 | 11.1368 | 19.142 | 17.9851 | 27.8369 | 33.9413 | 36.8772 | 38.7644 | 44.7115 | 49.718 | 68.3022
6 | 3.8538 | 9.9183 | 17.9267 | 15.9074 | 27.628 | 31.92 | 35.7423 | 38.6914 | 46.034 | 49.7664 | 68.117
7 | 3.5295 | 10.179 | 19.1612 | 17.7118 | 29.001 | 32.6944 | 35.6577 | 39.7054 | 45.2776 | 48.0917 | 69.3393
8 | 3.2009 | 10.6676 | 17.6469 | 17.2966 | 27.5356 | 25.7888 | 24.7906 | 25.6609 | 28.5243 | 33.263 | 43.1278
9 | 3.2009 | 10.6999 | 19.2889 | 17.9164 | 28.2467 | 26.6116 | 27.4818 | 29.0636 | 34.201 | 40.9733 | 54.574
10 | 3.2009 | 10.6999 | 19.2889 | 17.9164 | 28.2467 | 30.9132 | 34.9069 | 37.1307 | 43.7213 | 49.7849 | 55.5118
11 | 2.4482 | 9.4045 | 9.955 | 7.1642 | 12.2364 | 15.0859 | 18.2775 | 20.2565 | 25.0783 | 30.8093 | 34.7216
12 | 3.8602 | 12.1787 | 20.8008 | 18.8233 | 30.5046 | 39.5713 | 42.0662 | 46.5975 | 52.6604 | 58.5327 | 74.863
13 | 3.3125 | 12.2509 | 20.1739 | 18.9645 | 30.1234 | 38.9899 | 41.8284 | 45.268 | 52.1157 | 57.3639 | 80.7344
14 | 0.61 | 9.19 | 15.59 | 15.11 | 25.36 | 29.23 | 29.28 | 32.51 | 38.44 | 44.03 | 48.69
15 | 1.0806 | 9.688 | 18.5464 | 17.0144 | 29.7094 | 39.3061 | 40.3376 | 45.1636 | 51.8022 | 57.707 | 75.1767
16 | 1.0806 | 9.688 | 18.5464 | 17.0144 | 29.7094 | 39.3061 | 40.3376 | 45.1636 | 51.5498 | 57.6712 | 69.5515
17 | 1.0806 | 9.6337 | 18.4885 | 16.9604 | 29.6554 | 39.2522 | 42.4959 | 47.4599 | 53.939 | 60.1961 | 66.9685
2% Affordability | 15.073 | 17.1977 | 19.3648 | 21.5753 | 23.83 | 26.1298 | 28.4756 | 30.8683 | 33.3089 | 35.7983 | 38.3374
| 2023 Estimated CAP Customer Electricity Burden | 2023 State of Texas Average Low Income Customer Electricity Burden | 2035 Estimated CAP Customer Electricity Burden
1 | 3.8% | 5% | 3.656%
2 | 3.8% | 5% | 4.468%
3 | 3.8% | 5% | 3.495%
4 | 3.8% | 5% | 3.155%
5 | 3.8% | 5% | 4.502%
6 | 3.8% | 5% | 4.497%
7 | 3.8% | 5% | 4.531%
8 | 3.8% | 5% | 3.791%
9 | 3.8% | 5% | 4.114%
10 | 3.8% | 5% | 4.141%
11 | 3.8% | 5% | 3.554%
12 | 3.8% | 5% | 4.687%
13 | 3.8% | 5% | 4.853%
14 | 3.8% | 5% | 3.948%
15 | 3.8% | 5% | 4.696%
16 | 3.8% | 5% | 4.537%
17 | 3.8% | 5% | 4.464%
Electricity Burden Supporting Data
Measure | Value | Reference
Avg residential rate as % of avg system rate | 117.6% | avg of annual value reported to EIA for 2017-2022
2023 estimated CAP customer income | 30000 | 2023 federal poverty level |  |  | 2010 Income Calculations (austintexas.gov)
2023 ratio of avg CAP customer rate to avg residential rate | 76.12% | Ratio of numbers below
FY2025 Avg Residential Bill | 121.96 | Analysis for 2025 proposed budget (found online)
FY25 CAP Bill | 92.83 | Analysis for 2025 proposed budget (found online)
DISCLAIMER: ** These are representative results based on modeling for the 2035 Resource Generation Plan and are not projections of AE's future prices. The results are not inclusive of factors beyond the scope of this Resource Generation Plan modeling.
Note on B15: Hoffman, Michael: Updated with P4 new data 9/24.

## Liquidity Risk
Results of Liquidity Risk Backcast Modeling
Portfolio | Portfolio Number | Uri Backcast 5k HCAP Total Liquidity Need ($MM) | Uri Backcast 5k HCAP + EPP Total Liquidity Need ($MM) | Summer 2023 Backcast Total Liquidity Need ($MM)
No New Commitments | 1 | 1381.5644 | 1093.334 | 523.108
2030 Current Plan | 2 | 1684.7717 | 1278.1305 | 531.1731
Local Gen/Storage + Margin | 3 | 526.541 | 553.5445 | 292.8217
Local Dispatchable + Margin | 4 | 481.7151 | 522.933 | 298.9893
Meet Env Goals + Expand DSM | 5 | 1657.2864 | 1261.6197 | 514.2291
Aggressive DSM + Local Storage and Maintain Current RE Levels | 6 | 1642.7264 | 1232.5592 | 557.2464
Aggressive DSM + Local Storage and Meet 65% RE Goal | 7 | 1445.3434 | 1119.1674 | 465.6385
Hydrogen | 8 | 653.0127 | 516.9667 | 186.5189
Hydrogen + Storage | 9 | 960.4938 | 757.1063 | 305.7521
Keep Existing Gas + Storage | 10 | 608.361 | 610.2408 | 329.1714
Replace FPP in 2028 w/ Gas | 11 | 444.9871 | 463.4536 | 238.8407
EUC-Workgroup Recs | 12 | 1111.1441 | 921.5936 | 280.9554
EUC-Increase Batteries | 13 | 1312.7236 | 1053.0606 | 325.8087
Portfolio 14 | 14 | 475.0108 | 443.7911 | 274.3086
Portfolio 15 | 15 | 1040.2369 | 879.1218 | 228.097
Portfolio 16 | 16 | 256.3144 | 290.1101 | 64.7228
Portfolio 17 | 17 | 284.8925 | 311.5966 | 117.6623

## Capacity Factor
Summary of Gas Unit Capacity Factors by Portfolio and Year
UPLAN - Capacity Factor (P14) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Sand Hill Peakers | 0% | 1% | 3% | 4% | 4% | 5% | 7% | 9% | 10% | 10% | 10%
Decker Peakers | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
New NG Peakers |  |  | 5% | 6% | 7% | 7% | 9% | 11% | 13% | 12% | 12%
UPLAN - Capacity Factor (P15) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Sand Hill Peakers | 0% | 1% | 3% | 4% | 4% | 5% | 7% | 9% | 10% | 10% | 0%
Decker Peakers | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
UPLAN - Capacity Factor (P16) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Sand Hill Peakers | 0% | 1% | 3% | 4% | 4% | 5% | 7% | 9% | 10% | 10% | 9%
Decker Peakers | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
UPLAN - Capacity Factor (P17) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Sand Hill Peakers | 0% | 1% | 3% | 4% | 4% | 5% | 8% | 9% | 11% | 11% | 10%
Decker Peakers | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## Reliability Risk Hours
Summary of Reliability Risk Hours Totals by Portfolio
Total Reliability Risk Hours by Year
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Total
1 | 34 | 40 | 48 | 50 | 66 | 62 | 75 | 89 | 111 | 150 | 165 | 890
2 | 34 | 40 | 52 | 55 | 68 | 62 | 75 | 89 | 111 | 150 | 2204 | 2940
3 | 31 | 39 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72
4 | 33 | 39 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76
5 | 31 | 39 | 49 | 245 | 252 | 279 | 307 | 350 | 381 | 404 | 2115 | 4452
6 | 31 | 39 | 43 | 38 | 36 | 37 | 35 | 31 | 32 | 32 | 2141 | 2495
7 | 31 | 39 | 44 | 37 | 36 | 38 | 36 | 34 | 32 | 34 | 2136 | 2497
8 | 31 | 39 | 49 | 53 | 61 | 7 | 0 | 0 | 0 | 0 | 3 | 243
9 | 31 | 39 | 43 | 39 | 38 | 0 | 0 | 0 | 0 | 0 | 438 | 628
10 | 31 | 39 | 43 | 39 | 38 | 35 | 38 | 33 | 37 | 42 | 41 | 416
11 | 31 | 39 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74
12 | 27 | 35 | 19 | 15 | 5 | 3 | 2 | 5 | 1 | 1 | 1369 | 1482
13 | 31 | 39 | 36 | 37 | 42 | 26 | 25 | 26 | 31 | 43 | 2449 | 2785
14 | 31 | 39 | 13 | 14 | 13 | 7 | 0 | 0 | 0 | 0 | 0 | 117
15 | 27 | 35 | 19 | 15 | 5 | 3 | 0 | 0 | 0 | 0 | 267 | 371
16 | 27 | 35 | 19 | 15 | 5 | 3 | 0 | 0 | 0 | 0 | 0 | 104
17 | 27 | 35 | 19 | 15 | 5 | 3 | 2 | 5 | 1 | 1 | 2 | 115
Total Reliability Risk Hours by Year - High Load Forecast
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Total
14 - High Load Forecast | 78 | 182 | 99 | 162 | 217 | 193 | 37 | 76 | 124 | 214 | 283 | 1665
15 - High Load Forecast | 64 | 121 | 134 | 157 | 184 | 135 | 14 | 47 | 38 | 53 | 2288 | 3235
16 - High Load Forecast | 64 | 121 | 134 | 157 | 184 | 135 | 14 | 47 | 62 | 58 | 71 | 1047
17 - High Load Forecast | 64 | 121 | 134 | 157 | 184 | 135 | 201 | 303 | 339 | 388 | 473 | 2499
Total # of Reliability Risk Events - 3+ Hours
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Total
1 | 7 | 9 | 10 | 9 | 11 | 11 | 14 | 16 | 24 | 32 | 35 | 178
2 | 7 | 9 | 10 | 9 | 13 | 11 | 14 | 16 | 24 | 32 | 43 | 188
3 | 7 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
4 | 7 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
5 | 7 | 8 | 10 | 48 | 45 | 54 | 59 | 63 | 66 | 69 | 193 | 622
6 | 7 | 8 | 8 | 6 | 5 | 7 | 7 | 7 | 6 | 6 | 193 | 260
7 | 7 | 8 | 9 | 6 | 6 | 8 | 8 | 8 | 6 | 5 | 187 | 258
8 | 7 | 8 | 10 | 8 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 44
9 | 7 | 8 | 8 | 6 | 6 | 0 | 0 | 0 | 0 | 0 | 62 | 97
10 | 7 | 8 | 8 | 6 | 6 | 7 | 8 | 7 | 7 | 7 | 8 | 79
11 | 7 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
12 | 6 | 8 | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 162 | 182
13 | 7 | 8 | 7 | 6 | 7 | 4 | 2 | 3 | 5 | 5 | 242 | 296
14 | 7 | 8 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 20
15 | 6 | 8 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 56
16 | 6 | 8 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19
17 | 6 | 8 | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 20
“Reliability Risk Hours” = total number of hours in a given year that the model predicts there will be increased risk of local outages​
​
Local outages in this case are a result of not enough electricity physically available to meet Austin’s load​
​
Can be caused by high local load, decrease in local power generation, decrease in import capacity, or a combination of these factors​

## P14-17 Emissions
Summary of Modeled Emissions Results
Trend of Annual CO2 Emissions vs. Historical (Million Metric Tons)
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Historical | 5538227.054 | 5424337.4368 | 6064444.2869 | 5854338.0868 | 5468898.0444 | 5083094.3891 | 5815870.899 | 4619034.8807 | 4859501.7675 | 4288942.8143 | 4432697.9633 | 4710300.8172 | 5151368.7766 | 5353632.8 | 4418950.1101 | 4476372.44 | 4438116.7082 | 3541928.175 | 2709373.7095
14 | [18 empty] | 2709373.7095 | 2700000 | 411085.4577 | 475710.7865 | 527555.5656 | 542899.8458 | 556870.1805 | 610146.5118 | 672348.2718 | 713986.2107 | 767266.1707 | 756211.5577 | 752013.9708
15 | [18 empty] | 2709373.7095 | 2700000 | 410090 | 445606 | 455735 | 439365 | 417639 | 401259 | 416393 | 417238 | 422380 | 396191 | -
16 | [18 empty] | 2709373.7095 | 2700000 | 410090 | 445606 | 455735 | 439365 | 417639 | 401259 | 416393 | 417238 | 424392 | 395705 | 625543
17 | [18 empty] | 2709373.7095 | 2700000 | 410090 | 445606 | 455735 | 439365 | 417639 | 401259 | 427014 | 425485 | 434588 | 404813 | 640958
Millions of Metric Tons CO2 (2025-2035)
CO2
1 | 14.3
2 | 5.8
3 | 26.6
4 | 40.4
5 | 5.8
6 | 5.7
7 | 5.6
8 | 9
9 | 8.2
10 | 6.3
11 | 24.5
12 | 4.3
13 | 4.4
14 | 6.7861
15 | 4.2
16 | 4.8
17 | 4.9
NOX Emissions in MT
| CY2025 | CY2026 | CY2027 | CY2028 | CY2029 | CY2030 | CY2031 | CY2032 | CY2033 | CY2034 | CY2035
Portfolio 14 | 40.3701 | 45.8133 | 52.6173 | 55.3388 | 55.3388 | 60.782 | 70.3075 | 78.0187 | 85.2762 | 84.369 | 82.5547
Portfolio 15 | 40.3701 | 43.0917 | 44.9061 | 43.9989 | 41.7309 | 38.1022 | 45.3597 | 45.3597 | 47.1741 | 47.1741 | 0
Portfolio 16 | 40.3701 | 43.0917 | 44.9061 | 43.9989 | 41.7309 | 38.1022 | 45.3597 | 45.3597 | 48.0813 | 44.4525 | 67.1324
Portfolio 17 | 40.3701 | 43.0917 | 44.9061 | 43.9989 | 41.7309 | 38.1022 | 45.8133 | 45.3597 | 49.4421 | 47.6277 | 70.3075
NOx
1 | NOX Emissions in MT CY2025: 1596
2 | NOX Emissions in MT CY2025: 589
3 | NOX Emissions in MT CY2025: 3016
4 | NOX Emissions in MT CY2025: 8978
5 | NOX Emissions in MT CY2025: 599
6 | NOX Emissions in MT CY2025: 584
7 | NOX Emissions in MT CY2025: 573
8 | NOX Emissions in MT CY2025: 1730
9 | NOX Emissions in MT CY2025: 1355
10 | NOX Emissions in MT CY2025: 650
11 | NOX Emissions in MT CY2025: 5267
12 | NOX Emissions in MT CY2025: 440
13 | NOX Emissions in MT CY2025: 457
14 | NOX Emissions in MT CY2025: 710.7865
15 | NOX Emissions in MT CY2025: 437.2675
16 | NOX Emissions in MT CY2025: 502.5855
17 | NOX Emissions in MT CY2025: 510.7502
SOX Emissions in MT
| CY2025 | CY2026 | CY2027 | CY2028 | CY2029 | CY2030 | CY2031 | CY2032 | CY2033 | CY2034 | CY2035
Portfolio 14 | 0.4536 | 0.90719 | 0.4536 | 0 | 0.4536 | 0 | 0 | 0 | 0 | 0 | 0
Portfolio 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portfolio 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portfolio 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOx
1 | SOX Emissions in MT CY2025: 49.4
2 | SOX Emissions in MT CY2025: 8.2
3 | SOX Emissions in MT CY2025: 88
4 | SOX Emissions in MT CY2025: 1036
5 | SOX Emissions in MT CY2025: 6.8
6 | SOX Emissions in MT CY2025: 3.6
7 | SOX Emissions in MT CY2025: 3.6
8 | SOX Emissions in MT CY2025: 20.4
9 | SOX Emissions in MT CY2025: 17.2
10 | SOX Emissions in MT CY2025: 3.6
11 | SOX Emissions in MT CY2025: 561.6
12 | SOX Emissions in MT CY2025: 0
13 | SOX Emissions in MT CY2025: 0.9
14 | SOX Emissions in MT CY2025: 2.268
15 | SOX Emissions in MT CY2025: 0
16 | SOX Emissions in MT CY2025: 0
17 | SOX Emissions in MT CY2025: 0
PM Emission (Tons)
Portfolio Name | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Portfolio 14 | 10.0789 | 11.8207 | 13.616 | 14.1474 | 14.5897 | 16.4956 | 18.6074 | 20.0066 | 21.7986 | 21.4397 | 21.2821
Portfolio 15 | 10 | 11 | 12 | 11 | 11 | 11 | 12 | 12 | 12 | 12 | 0
Portfolio 16 | 10 | 11 | 12 | 11 | 11 | 11 | 12 | 12 | 12 | 12 | 17
Portfolio 17 | 10 | 11 | 12 | 11 | 11 | 11 | 12 | 12 | 13 | 12 | 18
PM
1 | SOX Emissions in MT CY2025: 389
2 | SOX Emissions in MT CY2025: 152
3 | SOX Emissions in MT CY2025: 761
4 | SOX Emissions in MT CY2025: 869
5 | SOX Emissions in MT CY2025: 153
6 | SOX Emissions in MT CY2025: 150
7 | SOX Emissions in MT CY2025: 148
8 | SOX Emissions in MT CY2025: 259
9 | SOX Emissions in MT CY2025: 235
10 | SOX Emissions in MT CY2025: 554
11 | SOX Emissions in MT CY2025: 167
12 | SOX Emissions in MT CY2025: 114
13 | SOX Emissions in MT CY2025: 118
14 | SOX Emissions in MT CY2025: 183.8827
15 | SOX Emissions in MT CY2025: 113
16 | SOX Emissions in MT CY2025: 130
17 | SOX Emissions in MT CY2025: 132

## CF % of load
Carbon Free % of Load with curtailment | CY2025 | CY2026 | CY2027 | CY2028 | CY2029 | CY2030 | CY2031 | CY2032 | CY2033 | CY2034 | CY2035
1 | 68.31% | 67.32% | 66.02% | 66.19% | 65.52% | 62.87% | 63.83% | 59.5% | 50.18% | 50.11% | 48.06%
2 | 69.4% | 74.59% | 73.81% | 76.02% | 75.64% | 73.11% | 74.11% | 71.03% | 61.55% | 76.65% | 74.7%
3 | 68.44% | 67.24% | 66.2% | 67.62% | 67.13% | 64.62% | 65.8% | 62.82% | 61.67% | 62.77% | 62.89%
4 | 68.32% | 67.23% | 66.18% | 66.41% | 65.75% | 63.12% | 64.27% | 59.98% | 50.84% | 50.65% | 48.5%
5 | 69.37% | 74.69% | 73.98% | 76.19% | 75.92% | 73.29% | 74.37% | 71.34% | 61.84% | 77.42% | 75.72%
6 | 68.43% | 67.32% | 66.12% | 67.58% | 66.95% | 64.44% | 65.33% | 62.68% | 61.52% | 62.74% | 63.07%
7 | 69.39% | 74.59% | 74.06% | 76.28% | 75.8% | 73.5% | 74.46% | 71.57% | 61.96% | 77.78% | 76.09%
8 | 69.38% | 74.62% | 73.97% | 76.22% | 75.84% | 73.47% | 74.53% | 71.37% | 62.17% | 77.57% | 75.6%
9 | 69.38% | 74.62% | 74.03% | 76.23% | 75.95% | 73.4% | 74.64% | 71.5% | 62.07% | 77.67% | 75.45%
10 | 69.37% | 74.7% | 73.96% | 76.17% | 76.07% | 73.6% | 74.62% | 71.68% | 62.2% | 77.63% | 75.56%
11 | 69.38% | 74.62% | 74.02% | 76.23% | 75.95% | 73.38% | 74.46% | 71.49% | 61.9% | 77.53% | 75.49%
12 | 68.75% | 75.33% | 75.02% | 77.98% | 78.23% | 83.37% | 85.12% | 83.04% | 73.57% | 85.53% | 88.7%
13 | 68.47% | 74.68% | 73.97% | 76.2% | 75.82% | 80.12% | 81.37% | 78.69% | 69.01% | 79.92% | 82.41%
14 | 69.42% | 74.75% | 73.91% | 76.29% | 75.9% | 73.37% | 74.41% | 71.42% | 61.99% | 77.41% | 75.49%
15 | 68.75% | 75.33% | 75.02% | 77.98% | 78.23% | 83.37% | 85.09% | 82.83% | 74.39% | 87.09% | 91.61%
16 | 68.75% | 75.33% | 75.02% | 77.98% | 78.23% | 83.37% | 85.09% | 82.83% | 73.58% | 86.4% | 90.78%
17 | 68.75% | 75.33% | 75.02% | 77.98% | 78.23% | 83.37% | 85.12% | 83.04% | 73.57% | 85.53% | 88.87%
Carbon Free % of Load without curtailment | CY2025 | CY2026 | CY2027 | CY2028 | CY2029 | CY2030 | CY2031 | CY2032 | CY2033 | CY2034 | CY2035
1 | 76.83% | 76.29% | 75.39% | 74.75% | 75.06% | 74% | 75% | 73.12% | 60.44% | 58.77% | 54.54%
2 | 78.04% | 88.11% | 87.05% | 88.69% | 88.8% | 87.61% | 88.74% | 87.89% | 75.08% | 92.72% | 88.26%
3 | 76.89% | 76.39% | 75.51% | 76.19% | 76.51% | 75.5% | 76.72% | 76.07% | 75.26% | 75.55% | 75.29%
4 | 76.86% | 76.33% | 75.38% | 74.87% | 74.87% | 73.82% | 75.01% | 73.09% | 60.54% | 58.9% | 54.78%
5 | 78.07% | 88.19% | 87.19% | 88.89% | 89.12% | 87.94% | 89.14% | 88.27% | 75.47% | 93.47% | 89.51%
6 | 76.9% | 76.37% | 75.35% | 76.28% | 76.58% | 75.65% | 76.72% | 76.3% | 75.5% | 75.88% | 75.96%
7 | 78.07% | 88.21% | 87.25% | 88.87% | 89.1% | 88% | 89.11% | 88.58% | 75.61% | 93.83% | 89.83%
8 | 78.12% | 88.21% | 87.15% | 88.84% | 89.08% | 87.92% | 88.97% | 88.17% | 75.56% | 93.37% | 89.03%
9 | 78.12% | 88.21% | 87.28% | 88.85% | 89.11% | 87.96% | 89.01% | 88.22% | 75.5% | 93.44% | 88.96%
10 | 78.07% | 88.2% | 87.1% | 88.77% | 89.09% | 87.85% | 89.02% | 88.26% | 75.56% | 93.4% | 88.92%
11 | 78.12% | 88.21% | 87.27% | 88.85% | 89.1% | 87.96% | 89.04% | 88.44% | 75.45% | 93.47% | 88.97%
12 | 77.27% | 89% | 88.4% | 90.85% | 91.73% | 103.3% | 105.1% | 106.3% | 93.49% | 107.2% | 110%
13 | 76.88% | 88.22% | 87.17% | 88.83% | 89.04% | 99.68% | 101% | 101.4% | 88.28% | 101% | 102.9%
14 | 78.08% | 88.2% | 87.08% | 88.85% | 89.05% | 87.79% | 89% | 88.3% | 75.53% | 93.44% | 88.93%
15 | 77.27% | 89% | 88.4% | 90.85% | 91.73% | 103.3% | 105.2% | 106.1% | 94.29% | 108.8% | 113.1%
16 | 77.27% | 89% | 88.4% | 90.85% | 91.73% | 103.3% | 105.2% | 106.1% | 93.51% | 108.1% | 111.8%
17 | 77.27% | 89% | 88.4% | 90.85% | 91.73% | 103.3% | 105.1% | 106.3% | 93.49% | 107.2% | 109.9%
1 | CY2035: 6.481%
2 | CY2035: 13.57%
3 | CY2035: 12.4%
4 | CY2035: 6.275%
5 | CY2035: 13.8%
6 | CY2035: 12.89%
7 | CY2035: 13.74%
8 | CY2035: 13.43%
9 | CY2035: 13.51%
10 | CY2035: 13.35%
11 | CY2035: 13.48%
12 | CY2035: 21.34%
13 | CY2035: 20.45%
14 | CY2035: 13.44%
15 | CY2035: 21.52%
16 | CY2035: 21.05%
17 | CY2035: 21.06%

## P14-17 Tradeoffs
Tradeoffs - Portfolios 14-17
| Net Cost ($B) | CO2 Emissions (Million Metric Tons) | Total Reliability Risk Hours
14 | 9.1482 | 6.7861 | 117
15 | 10.9257 | 4.2 | 371
16 | 10.8464 | 4.8 | 104
17 | 10.6044 | 4.9 | 115
| Net Cost ($B) | CO2 Emissions (Million Metric Tons) | Total Reliability Risk Hours
12 | 10.8576 | 4.3 | 1482
15 | 10.9257 | 4.2 | 371
16 | 10.8464 | 4.8 | 104
17 | 10.6044 | 4.9 | 115
| Net Cost ($B) | CO2 Emissions (Million Metric Tons) | Total Reliability Risk Hours
10 | 9.8233 | 6.3 | 416
14 | 9.1482 | 6.7861 | 117

## 10
Portfolio:
10 - Keep Existing Gas + Local Storage
Specifications:
1) | 100% DR/EE/Local Solar projections from market potential study
2) | 100% Carbon Free by 2035 (zero CO2 stack emissions from AE generation)
3) | 65% Renewable Energy by 2027 (as % of AE Load) - new PPAs optimized financially by type/year
4) | Implement REACH on gas plants
5) | FPP retires beginning of 2025
6) | New local storage
7) | Decker and SHEC run through 2035
8)
[Cumulative New MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NEW RESOURCES
| Remote Utility Scale Solar | [Cumulative New MW] 2034: 700; [Cumulative New MW] 2035: 700
| Remote Utility Scale Wind | 50 | 500 | 500 | 600 | 600 | 600 | 600 | 650 | 650 | 1100 | 1100
Remote Battery Storage (2-hour duration)
Remote Battery Storage (4-hour duration)
Combined Cycle + SCR
Combustion Turbine + SCR
H2 CT + SCR
| Local Battery Storage (2-hour duration) |  | 5 | 10 | 15 | 20 | 25 | 25 | 25 | 25 | 25 | 25
| Local Battery Storage (4-hour duration) |  |  | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 100
| Local Battery Storage (12-hour duration) |  |  | 15 | 30 | 45 | 60 | 75 | 90 | 105 | 120 | 150
| Local Battery Storage (100-hour duration) | [5 empty] | 20 | 40 | 60 | 80 | 100 | 120
Hydrogen Fuel Cell
Remote Geothermal
| Demand Response | 10 | 13.104 | 17.1715 | 22.5015 | 29.486 | 38.6384 | 50.6318 | 66.3479 | 86.9423 | 113.9292 | 149.27
| Energy Efficiency | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer-Sited Solar | 10 | 12.32 | 15.1782 | 18.6996 | 23.0379 | 28.3827 | 34.9675 | 43.0799 | 53.0745 | 65.3877 | 80.6
| Community Solar | 0 | 0 | 0 | 0 | 3 | 5 | 9 | 12 | 14 | 16 | 18
[MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
EXISTING RESOURCES
| Decker Creek Power Station | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Sand Hill Energy Center | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595
| Fayette Power Project | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| South Texas | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430
| Nacogdoches | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
| PPAs - Wind | 1795.6 | 1795.6 | 1795.6 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1370.2 | 1070.5 | 863.9
| PPAs - Solar | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 825.7 | 825.7 | 825.7 | 825.7
| AE Existing Projection - Customer-Sited Solar | 134 | 152 | 170 | 188 | 206 | 220 | 234 | 248 | 262 | 276 | 290
| AE Existing Projection - Community Solar | 34 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
| GEN TOTAL | 4237.8 | 4263.8 | 4281.8 | 4240 | 4258 | 4272 | 4286 | 4181.5 | 3829.9 | 3544.2 | 3351.6
AE Existing Commitments for DR/EE
| Demand Response | 46.65 | 55.13 | 61.39 | 68.19 | 75.63 | 84.23 | 91.47 | 98.71 | 105.95 | 113.19 | 120.43
| EE | 37 | 73 | 108 | 142 | 174 | 205 | 236 | 267 | 298 | 329 | 360
Note on B18: AE: PPA Wind and Solar contract amounts optimized by cost to achieve 65% target and maintain through 2035.
Note on B31: AE: DR, EE, and Local Solar numbers are additional resources beyond the Business-as-Usual projections - see rows 48 + 49 (solar) and rows 53-54 EE + DR. 2035 Total Capacity: 2035 DNV: DR (Scenario 1) Achievable Total: 269.7 MW 2035 AE Business-as-Usual Projection: 120 MW Difference: 149 MW Additional Capacity by 2035
Note on B33: AE: 2035 total new capacity: 2035 DNV: Rooftop Solar BAU: 301.9 MW Solar + Storage BAU: 68.7 MW Total: 370.6 MW AE 2035 Business-as-Usual Projection: 290 MW Difference = 80 MW by 2035

## 12
Portfolio:
12 - EUC - Working Group Recs w/ Modifications
Specifications:
1) | Aggressive DR/EE/Local Solar projections beyond "Technical Achievable" from market potential study
2) | 100% Carbon Free by 2035 (zero CO2 stack emissions from AE generation)
3) | Optimize remote utility scale wind & solar (or other emissions-free renewables) to achieve the following goals (as a % of load): 65% renewable by 2027, 76% renewable by 2030, 100% carbon-free by 2035
4) | Implement REACH on gas plants
5) | FPP retires beginning of 2025
6) | Retire Decker and SHEC by end of 2034
7) | Optimize mix of 4- and 12-hr batteries to achieve 150 MW by 2027, 400 MW by 2030, and 500 MW by 2035
8)
[Cumulative New MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NEW RESOURCES
| Remote Utility Scale Solar | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 50 | 50 | 500 | 1000
| Remote Utility Scale Wind | 0 | 500 | 500 | 600 | 600 | 1050 | 1050 | 1150 | 1150 | 1500 | 1500
Remote Battery Storage (2-hour duration)
Remote Battery Storage (4-hour duration)
Combined Cycle + SCR
Combustion Turbine + SCR
H2 CT + SCR
| Local Battery Storage (2-hour duration) |  | 5 | 10 | 15 | 20 | 25 | 25 | 25 | 25 | 25 | 25
| Local Battery Storage (4-hour duration) | 0 | 5 | 140 | 145 | 150 | 160 | 165 | 170 | 175 | 180 | 200
| Local Battery Storage (12-hour duration) | 0 | 5 | 10 | 15 | 20 | 240 | 245 | 250 | 255 | 260 | 300
| Local Battery Storage (100-hour duration) | 0 0: 0
Hydrogen Fuel Cell
Remote Geothermal
| Demand Response | 14 | 18 | 24 | 31 | 41 | 56 | 70 | 91 | 119 | 156 | 180
| Energy Efficiency | 15 | 30 | 45 | 60 | 75 | 90 | 105 | 120 | 135 | 150 | 180
| Customer-Sited Solar | 16 | 30 | 50 | 84 | 118 | 153 | 190 | 223 | 263 | 305 | 350
| Community Solar | 0 | 0 | 0 | 0 | 3 | 5 | 9 | 12 | 14 | 16 | 18
[MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
EXISTING RESOURCES
| Decker Creek Power Station | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Sand Hill Energy Center | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595
| Fayette Power Project | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| South Texas | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430
| Nacogdoches | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
| PPAs - Wind | 1795.6 | 1795.6 | 1795.6 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1370.2 | 1070.5 | 863.9
| PPAs - Solar | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 825.7 | 825.7 | 825.7 | 825.7
| AE Existing Projection - Customer-Sited Solar | 134 | 152 | 170 | 188 | 206 | 220 | 234 | 248 | 262 | 276 | 290
| AE Existing Projection - Community Solar | 34 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
| GEN TOTAL | 4237.8 | 4263.8 | 4281.8 | 4240 | 4258 | 4272 | 4286 | 4181.5 | 3829.9 | 3544.2 | 2556.6
AE Existing Commitments for DR/EE
| Demand Response | 46.65 | 55.13 | 61.39 | 68.19 | 75.63 | 84.23 | 91.47 | 98.71 | 105.95 | 113.19 | 120.43
| EE | 37 | 73 | 108 | 142 | 174 | 205 | 236 | 267 | 298 | 329 | 360
Note on B33: AE: Sum of rows 37-39 from EUC Portfolios - 8-13-24-2"

## 14
Portfolio:
#14
Portfolio Objectives:
1) | Assess minimum levels of local storage and generation that mitigate LZPS and reliability risk in near-term (2025-2030)
2) | Includes land use for batteries constraint
3)
Specifications:
1) | 100% DR/EE/Local Solar projections from market potential study
2)
3) | 65% Renewable Energy by 2027 (as % of AE Load) - new PPAs optimized financially by type/year
4) | Implement REACH on gas plants
5) | FPP retires beginning of 2025
6)
7)
8)
[Cumulative New MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NEW RESOURCES
| Remote Utility Scale Solar | [Cumulative New MW] 2034: 700; [Cumulative New MW] 2035: 700
| Remote Utility Scale Wind | 50 | 500 | 500 | 600 | 600 | 600 | 600 | 650 | 650 | 1100 | 1100
Remote Battery Storage (2-hour duration)
Remote Battery Storage (4-hour duration)
Combined Cycle + SCR
| Combustion Turbine + SCR |  |  | 100 | 100 | 100 | 200 | 200 | 200 | 200 | 200 | 200
H2 CT + SCR
| Local Battery Storage (2-hour duration) |  | 5 | 10 | 15 | 20 | 25 | 25 | 25 | 25 | 25 | 25
| Local Battery Storage (4-hour duration) |  |  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Local Battery Storage (12-hour duration)
Local Battery Storage (100-hour duration)
Hydrogen Fuel Cell
Remote Geothermal
| Demand Response | 10 | 13.104 | 17.1715 | 22.5015 | 29.486 | 38.6384 | 50.6318 | 66.3479 | 86.9423 | 113.9292 | 149.27
| Energy Efficiency | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer-Sited Solar | 10 | 12.32 | 15.1782 | 18.6996 | 23.0379 | 28.3827 | 34.9675 | 43.0799 | 53.0745 | 65.3877 | 80.6
| Community Solar | 0 | 0 | 0 | 0 | 3 | 5 | 9 | 12 | 14 | 16 | 18
| Import Capacity Improvement | [Cumulative New MW] 2031: 250; [Cumulative New MW] 2032: 250; [Cumulative New MW] 2033: 250; [Cumulative New MW] 2034: 250; [Cumulative New MW] 2035: 250
[MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
EXISTING RESOURCES
| Decker Creek Power Station | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Sand Hill Energy Center | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595
| Fayette Power Project | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| South Texas | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430
| Nacogdoches | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
| PPAs - Wind | 1795.6 | 1795.6 | 1795.6 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1370.2 | 1070.5 | 863.9
| PPAs - Solar | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 825.7 | 825.7 | 825.7 | 825.7
| AE Existing Projection - Customer-Sited Solar | 134 | 152 | 170 | 188 | 206 | 220 | 234 | 248 | 262 | 276 | 290
| AE Existing Projection - Community Solar | 34 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
| GEN TOTAL | 4237.8 | 4263.8 | 4281.8 | 4240 | 4258 | 4272 | 4286 | 4181.5 | 3829.9 | 3544.2 | 3351.6
AE Existing Commitments for DR/EE
| Demand Response | 46.65 | 55.13 | 61.39 | 68.19 | 75.63 | 84.23 | 91.47 | 98.71 | 105.95 | 113.19 | 120.43
| EE | 37 | 73 | 108 | 142 | 174 | 205 | 236 | 267 | 298 | 329 | 360
5392.47
Note on B37: AE: DR, EE, and Local Solar numbers are additional resources beyond the Business-as-Usual projections - see rows 48 + 49 (solar) and rows 53-54 EE + DR. 2035 Total Capacity: 2035 DNV: DR (Scenario 1) Technical Achievable Total: 324.5 MW 2035 AE Business-as-Usual Projection: 120 MW Difference: 204 MW Additional Capacity by 2035
Note on B39: AE: 2035 total new capacity: 2035 DNV: Rooftop Solar BAU: 301.9 MW Solar + Storage BAU: 68.7 MW Total: 370.6 MW AE 2035 Business-as-Usual Projection: 290 MW Difference = 80 MW by 2035

## 15
Portfolio:
#15 - EUC "12-A"
Portfolio Objectives:
1) | Assess potential reliability and cost improvements to P12 through added import capacity, local storage, and DSM
2)
3)
Specifications:
1) | 250 MW Import Capacity Improvement
2) | Add 260 MW local solar to P12
3) | Add 100 MW local batteries
4) | Add 25MW DR
5) | Decker/SHEC retire 2034
6)
7)
8)
[Cumulative New MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NEW RESOURCES
| Remote Utility Scale Solar | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 50 | 50 | 500 | 1000
| Remote Utility Scale Wind | 0 | 500 | 500 | 600 | 600 | 1050 | 1050 | 1150 | 1150 | 1500 | 1500
Remote Battery Storage (2-hour duration)
Remote Battery Storage (4-hour duration)
Combined Cycle + SCR
Combustion Turbine + SCR
H2 CT + SCR
| Local Battery Storage (2-hour duration) |  | 5 | 10 | 15 | 20 | 25 | 25 | 25 | 25 | 25 | 25
| Local Battery Storage (4-hour duration) | 0 | 5 | 140 | 145 | 150 | 160 | 165 | 170 | 175 | 180 | 250
| Local Battery Storage (12-hour duration) | 0 | 5 | 10 | 15 | 20 | 240 | 245 | 250 | 255 | 260 | 350
| Local Battery Storage (100-hour duration) | 0 0: 0
Hydrogen Fuel Cell
Remote Geothermal
| Demand Response | 14 | 18 | 24 | 31 | 41 | 56 | 70 | 91 | 119 | 156 | 205
| Energy Efficiency | 15 | 30 | 45 | 60 | 75 | 90 | 105 | 120 | 135 | 150 | 180
| Customer-Sited Solar | 16 | 30 | 50 | 84 | 118 | 153 | 190 | 223 | 338 | 435 | 610
| Community Solar | 0 | 0 | 0 | 0 | 3 | 5 | 9 | 12 | 14 | 16 | 18
| Import Capacity Improvement | 165 245: 250; 170 250: 250; 175 255: 250; 180 260: 250; 250 350: 250
[MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
EXISTING RESOURCES
| Decker Creek Power Station | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Sand Hill Energy Center | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595
| Fayette Power Project | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| South Texas | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430
| Nacogdoches | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
| PPAs - Wind | 1795.6 | 1795.6 | 1795.6 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1370.2 | 1070.5 | 863.9
| PPAs - Solar | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 825.7 | 825.7 | 825.7 | 825.7
| AE Existing Projection - Customer-Sited Solar | 134 | 152 | 170 | 188 | 206 | 220 | 234 | 248 | 262 | 276 | 290
| AE Existing Projection - Community Solar | 34 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
| GEN TOTAL | 4237.8 | 4263.8 | 4281.8 | 4240 | 4258 | 4272 | 4286 | 4181.5 | 3829.9 | 3544.2 | 2556.6
AE Existing Commitments for DR/EE
| Demand Response | 46.65 | 55.13 | 61.39 | 68.19 | 75.63 | 84.23 | 91.47 | 98.71 | 105.95 | 113.19 | 120.43
| EE | 37 | 73 | 108 | 142 | 174 | 205 | 236 | 267 | 298 | 329 | 360
6362.6
Note on B37: AE: DR, EE, and Local Solar numbers are additional resources beyond the Business-as-Usual projections - see rows 48 + 49 (solar) and rows 53-54 EE + DR. 2035 Total Capacity: 2035 DNV: DR (Scenario 1) Technical Achievable Total: 324.5 MW 2035 AE Business-as-Usual Projection: 120 MW Difference: 204 MW Additional Capacity by 2035
Note on B39: AE: 2035 total new capacity: 2035 DNV: Rooftop Solar BAU: 301.9 MW Solar + Storage BAU: 68.7 MW Total: 370.6 MW AE 2035 Business-as-Usual Projection: 290 MW Difference = 80 MW by 2035

## 16
Portfolio:
#16 - EUC "12-C"
Portfolio Objectives:
1) | Assess potential reliability and cost improvements to P12 through added import capacity, local storage, and DSM
2) | [Confirming 2035 Local Solar w/ Josh Rhodes]
3)
Specifications:
1) | 250 MW Import Capacity Improvement
2) | Add 160 MW local solar to P12
3) | Add 200 MW local batteries
4) | Add 100 MW DR
5) | Do not retire Decker/SHEC
6)
7)
8)
[Cumulative New MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NEW RESOURCES
| Remote Utility Scale Solar | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 50 | 50 | 500 | 1000
| Remote Utility Scale Wind | 0 | 500 | 500 | 600 | 600 | 1050 | 1050 | 1150 | 1150 | 1500 | 1500
Remote Battery Storage (2-hour duration)
Remote Battery Storage (4-hour duration)
Combined Cycle + SCR
Combustion Turbine + SCR
H2 CT + SCR
| Local Battery Storage (2-hour duration) |  | 5 | 10 | 15 | 20 | 25 | 25 | 25 | 25 | 25 | 25
| Local Battery Storage (4-hour duration) | 0 | 5 | 140 | 145 | 150 | 160 | 165 | 170 | 175 | 180 | 300
| Local Battery Storage (12-hour duration) | 0 | 5 | 10 | 15 | 20 | 240 | 245 | 250 | 255 | 260 | 400
| Local Battery Storage (100-hour duration) | 0 0: 0
Hydrogen Fuel Cell
Remote Geothermal
| Demand Response | 14 | 18 | 24 | 31 | 41 | 56 | 70 | 91 | 119 | 156 | 280
| Energy Efficiency | 15 | 30 | 45 | 60 | 75 | 90 | 105 | 120 | 135 | 150 | 180
| Customer-Sited Solar | 16 | 30 | 50 | 84 | 118 | 153 | 190 | 223 | 263 | 385 | 510
| Community Solar | 0 | 0 | 0 | 0 | 3 | 5 | 9 | 12 | 14 | 16 | 18
| Import Capacity Improvement | 165 245: 250; 170 250: 250; 175 255: 250; 180 260: 250; 300 400: 250
[MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
EXISTING RESOURCES
| Decker Creek Power Station | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Sand Hill Energy Center | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595
| Fayette Power Project | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| South Texas | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430
| Nacogdoches | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
| PPAs - Wind | 1795.6 | 1795.6 | 1795.6 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1370.2 | 1070.5 | 863.9
| PPAs - Solar | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 825.7 | 825.7 | 825.7 | 825.7
| AE Existing Projection - Customer-Sited Solar | 134 | 152 | 170 | 188 | 206 | 220 | 234 | 248 | 262 | 276 | 290
| AE Existing Projection - Community Solar | 34 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
| GEN TOTAL | 4237.8 | 4263.8 | 4281.8 | 4240 | 4258 | 4272 | 4286 | 4181.5 | 3829.9 | 3544.2 | 3351.6
AE Existing Commitments for DR/EE
| Demand Response | 46.65 | 55.13 | 61.39 | 68.19 | 75.63 | 84.23 | 91.47 | 98.71 | 105.95 | 113.19 | 120.43
| EE | 37 | 73 | 108 | 142 | 174 | 205 | 236 | 267 | 298 | 329 | 360
7232.6
Note on B37: AE: DR, EE, and Local Solar numbers are additional resources beyond the Business-as-Usual projections - see rows 48 + 49 (solar) and rows 53-54 EE + DR. 2035 Total Capacity: 2035 DNV: DR (Scenario 1) Technical Achievable Total: 324.5 MW 2035 AE Business-as-Usual Projection: 120 MW Difference: 204 MW Additional Capacity by 2035
Note on B39: AE: 2035 total new capacity: 2035 DNV: Rooftop Solar BAU: 301.9 MW Solar + Storage BAU: 68.7 MW Total: 370.6 MW AE 2035 Business-as-Usual Projection: 290 MW Difference = 80 MW by 2035

## 17
Portfolio:
#17
Portfolio Objectives:
1) | Only change year 2035 for existing P12 - do not retire Decker/SHEC in 2035
2)
3)
Specifications:
1) | Same as P12 except Decker/SHEC run in 2035
2) | No import capacity increase
3)
4)
5)
6)
7)
8)
[Cumulative New MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NEW RESOURCES
| Remote Utility Scale Solar | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 50 | 50 | 500 | 1000
| Remote Utility Scale Wind | 0 | 500 | 500 | 600 | 600 | 1050 | 1050 | 1150 | 1150 | 1500 | 1500
Remote Battery Storage (2-hour duration)
Remote Battery Storage (4-hour duration)
Combined Cycle + SCR
Combustion Turbine + SCR
H2 CT + SCR
| Local Battery Storage (2-hour duration) |  | 5 | 10 | 15 | 20 | 25 | 25 | 25 | 25 | 25 | 25
| Local Battery Storage (4-hour duration) | 0 | 5 | 140 | 145 | 150 | 160 | 165 | 170 | 175 | 180 | 200
| Local Battery Storage (12-hour duration) | 0 | 5 | 10 | 15 | 20 | 240 | 245 | 250 | 255 | 260 | 300
| Local Battery Storage (100-hour duration) | 0 0: 0
Hydrogen Fuel Cell
Remote Geothermal
| Demand Response | 14 | 18 | 24 | 31 | 41 | 56 | 70 | 91 | 119 | 156 | 180
| Energy Efficiency | 15 | 30 | 45 | 60 | 75 | 90 | 105 | 120 | 135 | 150 | 180
| Customer-Sited Solar | 16 | 30 | 50 | 84 | 118 | 153 | 190 | 223 | 263 | 305 | 350
| Community Solar | 0 | 0 | 0 | 0 | 3 | 5 | 9 | 12 | 14 | 16 | 18
Import Capacity Increase
[MW]
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
EXISTING RESOURCES
| Decker Creek Power Station | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Sand Hill Energy Center | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | 595
| Fayette Power Project | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| South Texas | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430
| Nacogdoches | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
| PPAs - Wind | 1795.6 | 1795.6 | 1795.6 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1735.8 | 1370.2 | 1070.5 | 863.9
| PPAs - Solar | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 944.2 | 825.7 | 825.7 | 825.7 | 825.7
| AE Existing Projection - Customer-Sited Solar | 134 | 152 | 170 | 188 | 206 | 220 | 234 | 248 | 262 | 276 | 290
| AE Existing Projection - Community Solar | 34 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
| GEN TOTAL | 4237.8 | 4263.8 | 4281.8 | 4240 | 4258 | 4272 | 4286 | 4181.5 | 3829.9 | 3544.2 | 3351.6
AE Existing Commitments for DR/EE
| Demand Response | 46.65 | 55.13 | 61.39 | 68.19 | 75.63 | 84.23 | 91.47 | 98.71 | 105.95 | 113.19 | 120.43
| EE | 37 | 73 | 108 | 142 | 174 | 205 | 236 | 267 | 298 | 329 | 360
6772.6
Note on B37: AE: DR, EE, and Local Solar numbers are additional resources beyond the Business-as-Usual projections - see rows 48 + 49 (solar) and rows 53-54 EE + DR. 2035 Total Capacity: 2035 DNV: DR (Scenario 1) Technical Achievable Total: 324.5 MW 2035 AE Business-as-Usual Projection: 120 MW Difference: 204 MW Additional Capacity by 2035
Note on B39: AE: 2035 total new capacity: 2035 DNV: Rooftop Solar BAU: 301.9 MW Solar + Storage BAU: 68.7 MW Total: 370.6 MW AE 2035 Business-as-Usual Projection: 290 MW Difference = 80 MW by 2035
Note on B41: AE: Note that for P17 the Ascend modeling results do include the 250 MW import capacity increase. It was not added to P17 for Uplan modeling for lack of time to complete in Round II.

## AE DSM Existing Projections
| Energy Efficiency | Demand Response | Local Solar
Max Economic Market Potential from DNV Study | 360 | 269 | 431
Portfolio 14 | 360 | 269 | 431
Portfolio 15 | 540 | 325 | 960
Portfolio 16 | 540 | 400 | 860
Portfolio 17 | 540 | 300 | 700