## 2035 Modeled Installed Capacity
Total Installed Capacity by Resource in Each Portfolio - 2035
Portfolio | 1 - No New Commitments | 2 - 2030 Current Plan | 3 - Local Gen/Storage + Margin | 4 - Local Dispatchable + Margin | 5 - Meet Env Goals + Expand DSM | 6 - Aggressive DSM + Local Storage and Maintain Current RE Levels | 7 - Aggressive DSM + Local Storage and Meet 65% RE Goal | 8 - Hydrogen | 9 - Hydrogen + Storage | 10 - Keep Existing Gas + Storage | 11 - Replace FPP in 2028 w/ Gas | 12 - EUC-Workgroup Recs | 13 - EUC-Increase Batteries
RESOURCES
Non-Local Solar (New) |  | 700 | 118 |  | 700 | 118 | 700 | 700 | 700 | 700 | 700 | 1000 | 1000
Non-Local Wind (New) |  | 1100 | 932 |  | 1100 | 932 | 1100 | 1100 | 1100 | 1100 | 1100 | 1500 | 1500
NG CC |  |  | 225 | 600 | [6 empty] | 225
NG CT |  |  | 350 | 500 | [6 empty] | 350
NG-H2 CT | [7 empty] | 1100 | 550
Local 2-hr |  |  | 25 |  |  | 25 | 25 |  | 25 | 25 |  | 25 | 25
Local 4-hr |  |  | 100 |  |  | 100 | 100 |  | 100 | 100 |  | 200 | 360
Local 12-hr |  |  | 150 |  |  | 150 | 150 |  | 150 | 150 |  | 300 | 540
Local 100-hr | [5 empty] | 120 | 120 |  | 120 | 120
Decker CT | 200 |  | 200 | 200 | [5 empty] | 200 | 200
Sand Hill CC | 315 |  | 315 | 315 | [5 empty] | 315 | 315
Sand Hill CT | 280 |  | 280 | 280 | [5 empty] | 280 | 280
FPP Coal
STP Nuke | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430
NAC Biomass | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Non-Local Wind | 863.9 | 863.9 | 863.9 | 863.9 | 863.9 | 863.9 | 863.9 | 863.9 | 863.9 | 863.9 | 863.9 | 863.9 | 863.9
Non-Local Solar | 825.7 | 825.7 | 825.7 | 825.7 | 825.7 | 825.7 | 825.7 | 825.7 | 825.7 | 825.7 | 825.7 | 825.7 | 825.7
Customer-Sited Solar | 290 | 290 | 370.6 | 330.3 | 370.6 | 438.8377 | 438.8377 | 370.6 | 370.6 | 370.6 | 370.6 | 640 | 370.6
Community Solar | 42 | 42 | 60 | 51 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Demand Response | 120.43 | 120.43 | 269.7 | 195.065 | 269.7 | 324.5477 | 324.5477 | 269.7 | 269.7 | 269.7 | 269.7 | 300.43 | 269.7
Energy Efficiency (additional) | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 540 | 360

## Values by Metric
Model Results for Each Portfolio by Output Metric
|  | 20-yr NPV ($MM) | 2035 Bill Impact ($/Month) | 2035 Energy Burden (%) | Total Liquidity Need ($MM) | 2035 Reliability Risk Events 4,6,8 hours (Count) | 2035 Reliability Risk Hours (Hours) | Total CO2 Emissions (Million Metric Tons) | Total NOx Emissions (Metric Tons) | Total SOx Emissions (Metric Tons) | Total PM Emissions (Metric Tons) | Total CO2 Emissions (ERCOT) | TOTAL SCORE
100% | Weighting | 15% | 5% | 5% | 25% | 0% | 20% | 15% | 10% | 2% | 1% | 2%
| 1 | 9770.7921 | 38.3543 | 3.656% | 1291 | 9 | 165 | 14.2982 | 1596.2079 | 49.4421 | 389 | 12 | 1990.1727
| 2 | 13026.3901 | 67.0931 | 4.468% | 1685 | 17 | 2204 | 5.7636 | 588.7689 | 8.1647 | 152 | 6 | 2880.9101
| 3 | 8659.3884 | 32.6365 | 3.495% | 424 | 0 | 0 | 26.572 | 3015.9666 | 87.9978 | 761 | 11 | 1721.7142
| 4 | 7336.0758 | 20.6115 | 3.155% | 365 | 0 | 0 | 40.4 | 8978 | 1036 | 869 | 13 | 2126.2235
| 5 | 13028.6589 | 68.3022 | 4.502% | 1657 | 20 | 2115 | 5.7868 | 598.7481 | 6.804 | 153 | 7 | 2857.5151
| 6 | 12912.5215 | 68.117 | 4.497% | 1643 | 25 | 2141 | 5.6628 | 583.7794 | 3.6288 | 150 | 10 | 2840.2362
| 7 | 13053.0088 | 69.3393 | 4.531% | 1445 | 24 | 2136 | 5.6227 | 573.3466 | 3.6288 | 148 | 8 | 2809.7612
| 8 | 10629.0748 | 43.1278 | 3.791% | 653 | 0 | 3 | 8.9587 | 1730.4726 | 20.4119 | 259 | 4 | 1937.8388
| 9 | 11665.416 | 54.574 | 4.114% | 961 | 20 | 438 | 8.2212 | 1354.8943 | 17.2367 | 235 | 5 | 2219.9105
| 10 | 12154.6691 | 55.5118 | 4.141% | 549 | 4 | 41 | 6.2856 | 650.4581 | 3.6288 | 554 | 9 | 2043.2092
| 11 | 9273.2882 | 34.7216 | 3.554% | 359 | 0 | 0 | 24.5385 | 5266.7151 | 561.5531 | 167 | 1 | 2025.7544
| 12 | 13244.061 | 74.863 | 4.687% | 1111 | 55 | 1369 | 4.2616 | 440.4427 | 0 | 114 | 2 | 2587.7681
| 13 | 14314.7953 | 80.7344 | 4.853% | 1313 | 56 | 2449 | 4.3905 | 456.7722 | 0.90719 | 118 | 3 | 3016.9024
14
15
16
17
| Scenarios Included | Avg All Scenarios | Avg All Scenarios | Avg All Scenarios | Event | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions
| Years | 2025-2045 | 2035 | 2035 | Based on 2035 Portfolio Mix | 2035 | 2035 | 2025-2035 | 2025-2035 | 2025-2035 | 2025-2035
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | #DIV/0! | #DIV/0!
[12 empty] | #REF! | #REF!
[12 empty] | #DIV/0! | #DIV/0!
[12 empty] | #DIV/0! | #DIV/0!

## Rankings by Metric
Rankings of All Portfolios 1 (Best) - 13 (Worst) for Each Output Metric
|  | 20-yr NPV | 2035 Bill Impact | 2035 Energy Burden | Total Liquidity Need | 2035 Reliability Risk Events 4,6,8 hours (Count) | 2035 Reliability Risk Hours | Total CO2 Emissions | Total NOx Emissions | Total SOx Emissions | Total PM Emissions | Total CO2 Emissions (ERCOT) | TOTAL SCORE
100% | Weighting | 15% | 5% | 5% | 25% | 0% | 20% | 15% | 10% | 2% | 1% | 2%
| 1 | 4 | 4 | 4 | 8 | 6 | 6 | 10 | 9 | 10 | 10 | 12 | 7.14
| 2 | 9 | 8 | 8 | 13 | 7 | 12 | 5 | 5 | 7 | 5 | 6 | 9.36
| 3 | 2 | 2 | 2 | 3 | 1 | 1 | 12 | 11 | 11 | 12 | 11 | 4.91
| 4 | 1 | 1 | 1 | 2 | 1 | 1 | 13 | 13 | 13 | 13 | 13 | 4.85
| 5 | 10 | 10 | 10 | 12 | 8 | 9 | 6 | 6 | 6 | 6 | 7 | 9.12
| 6 | 8 | 9 | 9 | 11 | 11 | 11 | 4 | 4 | 3 | 4 | 10 | 8.35
| 7 | 11 | 11 | 11 | 10 | 10 | 10 | 3 | 3 | 3 | 3 | 8 | 8.25
| 8 | 5 | 5 | 5 | 5 | 1 | 4 | 9 | 10 | 9 | 9 | 4 | 6
| 9 | 6 | 6 | 6 | 6 | 8 | 7 | 8 | 8 | 8 | 8 | 5 | 6.74
| 10 | 7 | 7 | 7 | 4 | 5 | 5 | 7 | 7 | 3 | 11 | 9 | 5.85
| 11 | 3 | 3 | 3 | 1 | 1 | 1 | 11 | 12 | 12 | 7 | 1 | 4.38
| 12 | 12 | 12 | 12 | 7 | 12 | 8 | 1 | 1 | 1 | 1 | 2 | 6.67
| 13 | 13 | 13 | 13 | 9 | 13 | 13 | 2 | 2 | 2 | 2 | 3 | 8.72
14
15
16
17
| Scenarios Included | Avg All Scenarios | Avg All Scenarios | Avg All Scenarios | Event | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions | Normal Conditions
| Years | 2025-2045 | 2035 | 2035 | Based on 2035 Portfolio Mix | 2035 | 2035 | 2025-2035 | 2025-2035 | 2025-2035 | 2025-2035

## Net Cost
20-Year Net Present Value (NPV) of Net Cost by Scenario
($MM)
| Normal Conditions | Extreme Weather Scenario | High Congestion Scenario | Market Rules Change Scenario | Average Cost | Ranking (of Average)
1 | 7934.0733 | 11630.1546 | 9713.6209 | 9805.3195 | 9770.7921 | 4
2 | 10509.4724 | 14509.5958 | 14465.0993 | 12621.3929 | 13026.3901 | 9
3 | 7628.4622 | 9878.6801 | 8130.6436 | 8999.7676 | 8659.3884 | 2
4 | 6696 | 7904 | 7080 | 7664.3032 | 7336.0758 | 1
5 | 10480.0915 | 14664.909 | 14355.3354 | 12614.2996 | 13028.6589 | 10
6 | 10354.6709 | 14332.4213 | 14656.4691 | 12306.5245 | 12912.5215 | 8
7 | 10551.6667 | 14407.7862 | 14749.062 | 12503.5204 | 13053.0088 | 11
8 | 8874.4821 | 11932.418 | 11248.0832 | 10461.3159 | 10629.0748 | 5
9 | 9594.6537 | 13217.4837 | 12545.8439 | 11303.6827 | 11665.416 | 6
10 | 9823.267 | 13279.5583 | 13950.5011 | 11565.3498 | 12154.6691 | 7
11 | 8032.8269 | 10168.0925 | 9610.56 | 9281.6734 | 9273.2882 | 3
12 | 10857.59 | 14981.2522 | 14459.5327 | 12677.8689 | 13244.061 | 12
13 | 11647.2958 | 15940.1732 | 16143.6583 | 13528.0541 | 14314.7953 | 13
“Net Cost” = Total capital + O&M costs to generate power – Total revenue from sale of power for a given portfolio mix​
Capital costs for new assets amortized (spread out evenly) over expected life of asset​
O&M costs include fuel, personnel, regular maintenance, etc.​
To compare a single “Net Cost” value across portfolios we use the Net Present Value (NPV) of the annual net costs for the 20-year period 2025-2045 using 7.8% discount rate

## Bill Impact
Summary of Estimated Bill Impact to AE Customers Based on Net Cost
| 2035 Monthly Bill Impact of Modeled Net Costs ($/Month) | [11 empty] | [Graph Driver]
| Normal Conditions | Extreme Weather Scenario | High Congestion Scenario | Market Rules Change Scenario | 2035 2% Affordability Target | Rank (Avg) | 2035 Average Monthly Bill Impact |  |  |  |  | Extreme Weather Scenario | High Congestion Scenario | Market Rules Change Scenario
1 | 28.7465 | 48.3557 | 38.1426 | 38.1725 | 38.3374 | 4 | 38.3543 |  |  |  |  | 19.6092 | 9.3962 | 9.426
2 | 53.2882 | 77.3397 | 71.4482 | 66.2964 | 38.3374 | 8 | 67.0931 |  |  |  |  | 24.0515 | 18.1599 | 13.0082
3 | 28.7265 | 37.7205 | 29.4076 | 34.6913 | 38.3374 | 2 | 32.6365 |  |  |  |  | 8.994 | 0.68116 | 5.9648
4 | 18.507 | 22.5295 | 18.6203 | 22.7892 | 38.3374 | 1 | 20.6115 |  |  |  |  | 4.0225 | 0.11337 | 4.2823
5 | 54.5065 | 78.8563 | 72.5737 | 67.2724 | 38.3374 | 10 | 68.3022 |  |  |  |  | 24.3498 | 18.0672 | 12.7659
6 | 52.9333 | 77.7067 | 77.0657 | 64.7622 | 38.3374 | 9 | 68.117 |  |  |  |  | 24.7733 | 24.1324 | 11.8289
7 | 54.4142 | 79.5013 | 77.2009 | 66.2409 | 38.3374 | 11 | 69.3393 |  |  |  |  | 25.0871 | 22.7866 | 11.8267
8 | 35.9744 | 52.2542 | 40.6334 | 43.6493 | 38.3374 | 5 | 43.1278 |  |  |  |  | 16.2798 | 4.659 | 7.6749
9 | 43.5292 | 66.0719 | 55.7266 | 52.9683 | 38.3374 | 6 | 54.574 |  |  |  |  | 22.5427 | 12.1974 | 9.4391
10 | 43.7495 | 61.5807 | 64.6336 | 52.0834 | 38.3374 | 7 | 55.5118 |  |  |  |  | 17.8312 | 20.8841 | 8.3339
11 | 29.194 | 39.3286 | 34.7161 | 35.6478 | 38.3374 | 3 | 34.7216 |  |  |  |  | 10.1345 | 5.5221 | 6.4538
12 | 60.4747 | 87.6111 | 79.4288 | 71.9376 | 38.3374 | 12 | 74.863 |  |  |  |  | 27.1364 | 18.9541 | 11.4629
13 | 65.1233 | 91.5328 | 90.2445 | 76.0371 | 38.3374 | 13 | 80.7344 |  |  |  |  | 26.4095 | 25.1212 | 10.9138
Average Monthly Bill Impact by Year - (Average of All Scenarios)
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
1 | -2.1161 | 2.0756 | 9.0476 | 7.2058 | 17.2738 | 20.6408 | 23.5293 | 26.4379 | 31.7737 | 33.4105 | 38.3543
2 | 3.3667 | 10.7377 | 19.2952 | 16.4996 | 27.6307 | 30.94 | 35.3919 | 37.1622 | 42.6471 | 47.6788 | 67.0931
3 | -2.2126 | 2.8425 | 6.9019 | 3.7113 | 8.5317 | 11.429 | 15.1574 | 17.7303 | 24.155 | 27.5111 | 32.6365
4 | -2.633 | 1.141 | 3.189 | 1.946 | 6.191 | 7.441 | 8.893 | 11.258 | 14.243 | 16.889 | 20.611
5 | 3.4381 | 11.1368 | 19.142 | 17.9851 | 27.8369 | 33.9413 | 36.8772 | 38.7644 | 44.7115 | 49.718 | 68.3022
6 | 3.8538 | 9.9183 | 17.9267 | 15.9074 | 27.628 | 31.92 | 35.7423 | 38.6914 | 46.034 | 49.7664 | 68.117
7 | 3.5295 | 10.179 | 19.1612 | 17.7118 | 29.001 | 32.6944 | 35.6577 | 39.7054 | 45.2776 | 48.0917 | 69.3393
8 | 3.2009 | 10.6676 | 17.6469 | 17.2966 | 27.5356 | 25.7888 | 24.7906 | 25.6609 | 28.5243 | 33.263 | 43.1278
9 | 3.2009 | 10.6999 | 19.2889 | 17.9164 | 28.2467 | 26.6116 | 27.4818 | 29.0636 | 34.201 | 40.9733 | 54.574
10 | 3.2009 | 10.6999 | 19.2889 | 17.9164 | 28.2467 | 30.9132 | 34.9069 | 37.1307 | 43.7213 | 49.7849 | 55.5118
11 | 2.4482 | 9.4045 | 9.955 | 7.1642 | 12.2364 | 15.0859 | 18.2775 | 20.2565 | 25.0783 | 30.8093 | 34.7216
12 | 3.8602 | 12.1787 | 20.8008 | 18.8233 | 30.5046 | 39.5713 | 42.0662 | 46.5975 | 52.6604 | 58.5327 | 74.863
13 | 3.3125 | 12.2509 | 20.1739 | 18.9645 | 30.1234 | 38.9899 | 41.8284 | 45.268 | 52.1157 | 57.3639 | 80.7344
2% Affordability | 15.073 | 17.1977 | 19.3648 | 21.5753 | 23.83 | 26.1298 | 28.4756 | 30.8683 | 33.3089 | 35.7983 | 38.3374
| 2023 Estimated CAP Customer Electricity Burden | 2023 State of Texas Average Low Income Customer Electricity Burden | 2035 Estimated CAP Customer Electricity Burden | Rank
1 | 3.8% | 5% | 3.656% | 4
2 | 3.8% | 5% | 4.468% | 8
3 | 3.8% | 5% | 3.495% | 2
4 | 3.8% | 5% | 3.155% | 1
5 | 3.8% | 5% | 4.502% | 10
6 | 3.8% | 5% | 4.497% | 9
7 | 3.8% | 5% | 4.531% | 11
8 | 3.8% | 5% | 3.791% | 5
9 | 3.8% | 5% | 4.114% | 6
10 | 3.8% | 5% | 4.141% | 7
11 | 3.8% | 5% | 3.554% | 3
12 | 3.8% | 5% | 4.687% | 12
13 | 3.8% | 5% | 4.853% | 13
Electricity Burden Supporting Data
Measure | Value | Reference
Avg residential rate as % of avg system rate | 117.6% | avg of annual value reported to EIA for 2017-2022
2023 estimated CAP customer income | 30000 | 2023 federal poverty level |  |  | 2010 Income Calculations (austintexas.gov)
2023 ratio of avg CAP customer rate to avg residential rate | 76.12% | Ratio of numbers below
FY2025 Avg Residential Bill | 121.96 | Analysis for 2025 proposed budget (found online)
FY25 CAP Bill | 92.83 | Analysis for 2025 proposed budget (found online)
DISCLAIMER: ** These are representative results based on modeling for the 2035 Resource Generation Plan and are not projections of AE's future prices. The results are not inclusive of factors beyond the scope of this Resource Generation Plan modeling.

## Liquidity Risk
Summary of Liquidity Risk Modeling
Winter Storm Backcast Liquidity Risk
| Estimated Total Liquidity Need ($MM) | Ranking
1 | 1291 | 8
2 | 1685 | 13
3 | 424 | 3
4 | 365 | 2
5 | 1657 | 12
6 | 1643 | 11
7 | 1445 | 10
8 | 653 | 5
9 | 961 | 6
10 | 549 | 4
11 | 359 | 1
12 | 1111 | 7
13 | 1313 | 9

## Reliability Risk Hours
Summary of Reliability Risk Hours Totals by Portfolio
Total Reliability Risk Hours by Year
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Ranking (2035)
1 | 34 | 40 | 48 | 50 | 66 | 62 | 75 | 89 | 111 | 150 | 165 | 6
2 | 34 | 40 | 52 | 55 | 68 | 62 | 75 | 89 | 111 | 150 | 2204 | 12
3 | 31 | 39 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4 | 33 | 39 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
5 | 31 | 39 | 49 | 245 | 252 | 279 | 307 | 350 | 381 | 404 | 2115 | 9
6 | 31 | 39 | 43 | 38 | 36 | 37 | 35 | 31 | 32 | 32 | 2141 | 11
7 | 31 | 39 | 44 | 37 | 36 | 38 | 36 | 34 | 32 | 34 | 2136 | 10
8 | 31 | 39 | 49 | 53 | 61 | 7 | 0 | 0 | 0 | 0 | 3 | 4
9 | 31 | 39 | 43 | 39 | 38 | 0 | 0 | 0 | 0 | 0 | 438 | 7
10 | 31 | 39 | 43 | 39 | 38 | 35 | 38 | 33 | 37 | 42 | 41 | 5
11 | 31 | 39 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
12 | 27 | 35 | 19 | 15 | 5 | 3 | 2 | 5 | 1 | 1 | 1369 | 8
13 | 31 | 39 | 36 | 37 | 42 | 26 | 25 | 26 | 31 | 43 | 2449 | 13
Total # of Reliability Risk Events of 4,6 or 8 hour duration
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Ranking (2035)
1 | 5 | 2 | 5 | 4 | 5 | 3 | 9 | 7 | 7 | 14 | 9 | 6
2 | 5 | 2 | 5 | 3 | 5 | 3 | 9 | 7 | 7 | 14 | 17 | 7
3 | 5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4 | 5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
5 | 5 | 2 | 5 | 21 | 24 | 27 | 33 | 41 | 45 | 40 | 20 | 8
6 | 5 | 2 | 4 | 3 | 3 | 3 | 4 | 2 | 3 | 1 | 25 | 11
7 | 5 | 2 | 4 | 3 | 3 | 3 | 5 | 2 | 3 | 2 | 24 | 10
8 | 5 | 2 | 5 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1
9 | 5 | 2 | 4 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 20 | 8
10 | 5 | 2 | 4 | 3 | 3 | 3 | 5 | 4 | 4 | 3 | 4 | 5
11 | 5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
12 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 12
13 | 5 | 2 | 4 | 3 | 3 | 2 | 1 | 0 | 2 | 3 | 56 | 13
“Reliability Risk Hours” = total number of hours in a given year that the model predicts there will be increased risk of local outages​
​
Local outages in this case are a result of not enough electricity physically available to meet Austin’s load​
​
Can be caused by high local load, decrease in local power generation, decrease in import capacity, or a combination of these factors​

## Emissions
Summary of Modeled Emissions Totals by Portfolio
Trend of Annual CO2 Emissions vs. Historical (Million Metric Tons)
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Historical | 5538227.054 | 5424337.4368 | 6064444.2869 | 5854338.0868 | 5468898.0444 | 5083094.3891 | 5815870.899 | 4619034.8807 | 4859501.7675 | 4288942.8143 | 4432697.9633 | 4710300.8172 | 5151368.7766 | 5353632.8 | 4418950.1101 | 4476372.44 | 4438116.7082 | 3541928.175 | 2709373.7095
1 | [18 empty] | 2709373.7095 | 2700000 | 804936.0428 | 928481.3572 | 1063763.0409 | 1058486.8003 | 1251667.4227 | 1340785.1764 | 1465175.0885 | 1567916.1753 | 1597112.8549 | 1600604.1912 | 1619281.5023
2 | [18 empty] | 2709373.7095 | 2700000 | 411524.9932 | 476111.3127 | 526236.9591 | 536281.4116 | 555681.3027 | 585144.2439 | 633061.3263 | 658379.7514 | 689549.5782 | 691648.8252 | 0
3 | [18 empty] | 2709373.7095 | 2700000 | 806927.3338 | 924380.8401 | 1538074.9342 | 1971412.0475 | 2733877.3474 | 2872431.2801 | 2997135.0812 | 3143672.7751 | 3183091.7173 | 3179878.436 | 3221099.9728
4 | [18 empty] | 2709373.7095 | 2700000 | 2177668 | 2412673 | 2954581 | 3355601 | 3715621 | 3993386 | 4515557 | 3948843 | 4424201 | 4419698 | 4487004
5 | [18 empty] | 2709373.7095 | 2700000 | 411100.4264 | 475368.3208 | 526867.0054 | 539402.1591 | 559267.8944 | 588396.5345 | 637226.2542 | 662496.1444 | 692903.021 | 693761.6801 | 0
6 | [18 empty] | 2709373.7095 | 2700000 | 411412.5011 | 475595.1193 | 525627.3247 | 530957.9969 | 544248.8433 | 567004.8988 | 617715.6854 | 643428.2863 | 674714.6875 | 672056.1553 | 0
7 | [18 empty] | 2709373.7095 | 2700000 | 410545.6772 | 474680.6677 | 523034.5641 | 529985.4849 | 544356.7994 | 562641.7491 | 609148.1448 | 635098.8842 | 667675.3152 | 665541.1413 | 0
8 | [18 empty] | 2709373.7095 | 2700000 | 410806.4955 | 475273.519 | 527379.1164 | 534075.1157 | 554275.6056 | 833330.763 | 1217147.3283 | 1347472.5574 | 1666940.4881 | 1391962.2607 | 0
9 | [18 empty] | 2709373.7095 | 2700000 | 410806.4955 | 475273.519 | 522643.5635 | 529760.9544 | 541669.6906 | 825569.7179 | 1207555.112 | 1283985.3035 | 1358660.0744 | 1065320.6931 | 0
10 | [18 empty] | 2709373.7095 | 2700000 | 410806.4955 | 475273.519 | 522643.5635 | 529760.9544 | 541669.6906 | 563265.445 | 610455.4114 | 635560.1923 | 667875.8051 | 664629.8648 | 663628.7762
11 | [18 empty] | 2709373.7095 | 2700000 | 1758213.7349 | 1926386.1925 | 2394455.23 | 2884866.1889 | 2092582.3279 | 2157958.8134 | 2187618.162 | 2259496.9609 | 2290132.9039 | 2282062.9593 | 2304714.2339
12 | [18 empty] | 2709373.7095 | 2700000 | 410090.2658 | 445605.552 | 455734.8272 | 439365.4178 | 417639.4811 | 401259.1853 | 427013.5172 | 425484.8952 | 434587.6803 | 404813.118 | 0
13 | [18 empty] | 2709373.7095 | 2700000 | 411320.4209 | 449360.4282 | 462561.0088 | 447268.8923 | 434248.8433 | 414749.1608 | 441200.6713 | 445311.1676 | 453214.6421 | 431285.9476 | 0
14
15
16
17
Total CO2 (2025-2035)
| CO2 (Million Metric Tons) | Ranking
1 | 14.2982 | 10
2 | 5.7636 | 5
3 | 26.572 | 12
4 | 40.4 | 13
5 | 5.7868 | 6
6 | 5.6628 | 4
7 | 5.6227 | 3
8 | 8.9587 | 9
9 | 8.2212 | 8
10 | 6.2856 | 7
11 | 24.5385 | 11
12 | 4.2616 | 1
13 | 4.3905 | 2
Total NOx (2025-2035)
| NOx (Metric Tons) | Ranking
1 | 1596.2079 | 9
2 | 588.7689 | 5
3 | 3015.9666 | 11
4 | 8978 | 13
5 | 598.7481 | 6
6 | 583.7794 | 4
7 | 573.3466 | 3
8 | 1730.4726 | 10
9 | 1354.8943 | 8
10 | 650.4581 | 7
11 | 5266.7151 | 12
12 | 440.4427 | 1
13 | 456.7722 | 2
Total SOx (2025-2035)
| SOx (Metric Tons) | Ranking
1 | 49.4421 | 10
2 | 8.1647 | 7
3 | 87.9978 | 11
4 | 1036 | 13
5 | 6.804 | 6
6 | 3.6288 | 3
7 | 3.6288 | 3
8 | 20.4119 | 9
9 | 17.2367 | 8
10 | 3.6288 | 3
11 | 561.5531 | 12
12 | 0 | 1
13 | 0.90719 | 2
Total PM (2025-2035)
| PM (Metric Tons) | Ranking
1 | 389 | 10
2 | 152 | 5
3 | 761 | 12
4 | 869 | 13
5 | 153 | 6
6 | 150 | 4
7 | 148 | 3
8 | 259 | 9
9 | 235 | 8
10 | 554 | 11
11 | 167 | 7
12 | 114 | 1
13 | 118 | 2
Total CO2 ERCOT-Wide (2025-2035)
CO2 (Million Metric Tons)
1 | 1876.8797
2 | 1866.1006
3 | 1876.4512
4 | 1872.919
5 | 1866.1829
6 | 1874.3388
7 | 1866.6648
8 | 1864.5628
9 | 1865.4238
10 | 1867.0219
11 | 1861.2637
12 | 1862.2212
13 | 1864.2511
Note on V5: AE: 2024 Estimate of AE Emissions

## CF % of load
Carbon Free (% of Load) Range by Portfolio
Carbon-Free (% of Load) - With Curtailment
Portfolio # | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | [GRAPH DRIVER]
1 | 68.31% | 67.32% | 66.02% | 66.19% | 65.52% | 62.87% | 63.83% | 59.5% | 50.18% | 50.11% | 48.06% | 6.481%
2 | 69.4% | 74.59% | 73.81% | 76.02% | 75.64% | 73.11% | 74.11% | 71.03% | 61.55% | 76.65% | 74.7% | 13.57%
3 | 68.44% | 67.24% | 66.2% | 67.62% | 67.13% | 64.62% | 65.8% | 62.82% | 61.67% | 62.77% | 62.89% | 12.4%
4 | 68.32% | 67.23% | 66.18% | 66.41% | 65.75% | 63.12% | 64.27% | 59.98% | 50.84% | 50.65% | 48.5% | 6.275%
5 | 69.37% | 74.69% | 73.98% | 76.19% | 75.92% | 73.29% | 74.37% | 71.34% | 61.84% | 77.42% | 75.72% | 13.8%
6 | 68.43% | 67.32% | 66.12% | 67.58% | 66.95% | 64.44% | 65.33% | 62.68% | 61.52% | 62.74% | 63.07% | 12.89%
7 | 69.39% | 74.59% | 74.06% | 76.28% | 75.8% | 73.5% | 74.46% | 71.57% | 61.96% | 77.78% | 76.09% | 13.74%
8 | 69.38% | 74.62% | 73.97% | 76.22% | 75.84% | 73.47% | 74.53% | 71.37% | 62.17% | 77.57% | 75.6% | 13.43%
9 | 69.38% | 74.62% | 74.03% | 76.23% | 75.95% | 73.4% | 74.64% | 71.5% | 62.07% | 77.67% | 75.45% | 13.51%
10 | 69.37% | 74.7% | 73.96% | 76.17% | 76.07% | 73.6% | 74.62% | 71.68% | 62.2% | 77.63% | 75.56% | 13.35%
11 | 69.38% | 74.62% | 74.02% | 76.23% | 75.95% | 73.38% | 74.46% | 71.49% | 61.9% | 77.53% | 75.49% | 13.48%
12 | 68.75% | 75.33% | 75.02% | 77.98% | 78.23% | 83.37% | 85.12% | 83.04% | 73.57% | 85.53% | 88.7% | 21.34%
13 | 68.47% | 74.68% | 73.97% | 76.2% | 75.82% | 80.12% | 81.37% | 78.69% | 69.01% | 79.92% | 82.41% | 20.45%
Carbon-Free (% of Load) - Without Curtailment
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
1 | 76.83% | 76.29% | 75.39% | 74.75% | 75.06% | 74% | 75% | 73.12% | 60.44% | 58.77% | 54.54%
2 | 78.04% | 88.11% | 87.05% | 88.69% | 88.8% | 87.61% | 88.74% | 87.89% | 75.08% | 92.72% | 88.26%
3 | 76.89% | 76.39% | 75.51% | 76.19% | 76.51% | 75.5% | 76.72% | 76.07% | 75.26% | 75.55% | 75.29%
4 | 76.86% | 76.33% | 75.38% | 74.87% | 74.87% | 73.82% | 75.01% | 73.09% | 60.54% | 58.9% | 54.78%
5 | 78.07% | 88.19% | 87.19% | 88.89% | 89.12% | 87.94% | 89.14% | 88.27% | 75.47% | 93.47% | 89.51%
6 | 76.9% | 76.37% | 75.35% | 76.28% | 76.58% | 75.65% | 76.72% | 76.3% | 75.5% | 75.88% | 75.96%
7 | 78.07% | 88.21% | 87.25% | 88.87% | 89.1% | 88% | 89.11% | 88.58% | 75.61% | 93.83% | 89.83%
8 | 78.12% | 88.21% | 87.15% | 88.84% | 89.08% | 87.92% | 88.97% | 88.17% | 75.56% | 93.37% | 89.03%
9 | 78.12% | 88.21% | 87.28% | 88.85% | 89.11% | 87.96% | 89.01% | 88.22% | 75.5% | 93.44% | 88.96%
10 | 78.07% | 88.2% | 87.1% | 88.77% | 89.09% | 87.85% | 89.02% | 88.26% | 75.56% | 93.4% | 88.92%
11 | 78.12% | 88.21% | 87.27% | 88.85% | 89.1% | 87.96% | 89.04% | 88.44% | 75.45% | 93.47% | 88.97%
12 | 77.27% | 89% | 88.4% | 90.85% | 91.73% | 103.3% | 105.1% | 106.3% | 93.49% | 107.2% | 110%
13 | 76.88% | 88.22% | 87.17% | 88.83% | 89.04% | 99.68% | 101% | 101.4% | 88.28% | 101% | 102.9%